KNOWLEDGE COMPONENT: FACILITATOR FORMATIVE AND SUMMATIVE ASSESSMENT TOOLS AND MODEL ANSWERS : KNOWLEDGE MODULE 1: SUGAR PROCESSING LABORATORY WORK

Occupational Certificate: Sugar Processing Controller

KNOWLEDGE COMPONENT: FACILITATOR FORMATIVE AND SUMMATIVE ASSESSMENT TOOLS AND MODEL ANSWERS:

KNOWLEDGE MODULE 1: SUGAR PROCESSING LABORATORY WORK

KNOWLEDGE COMPONENT: FACILITATOR FORMATIVE AND SUMMATIVE ASSESSMENT TOOLS AND MODEL ANSWERS: KNOWLEDGE MODULE 1: SUGAR PROCESSING LABORATORY WORK

OCCUPATIONAL CERTIFICATE: SUGAR PROCESSING CONTROLLER

©Copyright AgriSETA

Telephone: +27 12 301 5600

AgriSETA holds the copyright to its publications and Web pages.  Proper citation is requested.

TABLE OF CONTENTS

1.	INTRODUCTION TO THE FACILITATOR ASSESSMENT TOOLKIT OF THE OCCUPATIONAL CERTIFICATE: SUGAR PROCESSING CONTROLLER	6

2.	KNOWLEDGE MODULE 1: INTRODUCTION TO SUGAR PROCESSING LABORATORY WORK	7

2.1	Knowledge Topic 1: Laboratory Apparatus and Equipment and their uses (10%)	8

2.2	Knowledge Topic 2: Specific laboratory techniques (5%)	23

2.3	Knowledge Topic 3: Arithmetical calculations (10%)	29

2.4	Knowledge Topic 4: Draw and interpret graphs (10%)	43

2.5	Knowledge Topic 5: Units of measurement (10%)	51

2.6	Knowledge Topic 6: Use a balance (5%)	54

2.7	Knowledge Topic 7: Use flasks, measuring cylinders and pipettes (5%)	57

2.8	Knowledge Topic 8: Burettes and titration (5%)	60

2.9	Knowledge Topic 9: Filtration techniques (10%)	64

2.10	Knowledge Topic 10: Drying (10%)	69

2.11	Knowledge Topic 11: Preparation of solutions and concentration calculations (10%)			72

2.12	Knowledge Topic 12: Sampling (10%)	101

3.	CONCLUSION OF KNOWLEDGE MODULE 1: INTRODUCTION TO SUGAR PROCESSING LABORATORY WORK	103

4.	SUMMATIVE ASSESSMENT ACTIVITIES AND MODEL ANSWERS	104

5.	WRITTEN ASSESSMENT	105

6.	FINAL MARKS	136

# INTRODUCTION TO THE FACILITATOR ASSESSMENT TOOLKIT OF THE OCCUPATIONAL CERTIFICATE: SUGAR PROCESSING CONTROLLER

Dear Facilitator

This Toolkit has been created to assist you to assess the Formative Learning Activities of learners undertaking the NQF 5 Occupational Certificate: Sugar Processing Controller Qualification.

During the programme, Learners must be directed to their Learning and Activities Guide to complete Learning Activities associated with each module of the Knowledge Component.

The time allocated to the Learning Activities is provided in the Facilitator’s Implementation Guide, this Facilitator Assessment Toolkit and Model Answers and the Learning and Activities Guide.

The marks allocated to each Learning Activity is provided in this Facilitator Assessment Toolkit and Model Answers and the Learning and Activities Guide.

Instructions to be given to Learners

- They must work individually to present the results of each Learning Activity in each of the Learning and Activities Guides (Workbooks).

- They must complete all the sections.

- They must use a black pen and ensure that they complete the questions in their own handwriting.

- The time provided to complete each activity is shown.

- The marks they will attain for each learning activity are shown in brackets.

# KNOWLEDGE MODULE 1: INTRODUCTION TO SUGAR PROCESSING LABORATORY WORK

NQF LEVEL:	4

CREDITS:	8

PURPOSE OF THE KNOWLEDGE MODULE: The main focus of the learning in this knowledge module is to build an understanding of sugar processing science.

The learning will enable learners to demonstrate an understanding of:

- KM-01-KT01: Laboratory apparatus and equipment and their uses (10%)

- KM-01-KT02: Specific laboratory techniques (5%)

- KM-01-KT03: Arithmetical calculations (10%)

- KM-01-KT04: Draw and interpret graphs (10%)

- KM-01-KT05: Units of measurement (10%)

- KM-01-KT06: Use of a balance (5%)

- KM-01-KT07: Use flasks, measuring cylinders and pipettes (5%)

- KM-01-KT08: Burettes and titration (5%)

- KM-01-KT09: Filtration techniques (10%)

- KM-01-KT010: Drying (10%)

- KM-01-KT11: Preparation of solutions and concentration calculations (10%)

- KM-01-KT12: Sampling (10%)

Knowledge Topic 1: Laboratory Apparatus and Equipment and their uses (10%)

Topic elements to be covered include:

- KT0101 Apparatus

- KT0102 Equipment

Internal Assessment Criteria and Weight

- IAC0101: Equipment and apparatus can be identified and their uses explained

- Weight: 10%

Learning activity 1.1: Individual Learning activity: 30 minutes (30 marks)

Learning Objective: Correctly identify and describe the use of laboratory apparatus.

Task: Thirty (30) pieces of apparatus are illustrated in the first column of the table below. Provide the name of, and describe the use of, each piece of apparatus by completing the second and third columns of the table.

| IMAGE OF APPARATUS | Name of Apparatus | Use of Apparatus |
| --- | --- | --- |
|  | Beaker | Beakers are used for mixing, boiling, supporting a funnel and numerous other uses. |
|  | Buchner Funnel | Used to hold the filter paper when filtering under vacuum |
|  | Bulb Pipette | A pipette is a volumetric vessel used to deliver a constant volume of liquid according to the size of the pipette |
|  | Bunsen Burner | It produces a single open gas flame, which is used for heating, sterilization, and combustion. The gas can be natural gas (which is mainly methane) or a liquefied petroleum gas, such as propane, butane, or a mixture of both. |
|  | Burette | A long volumetric cylinder used in titrations for accurately dispensing quantities of liquid between 0 and 50 cm3. |
|  | Burette Clamp | A clamp used to hold the burette upright on a retort stand. |
|  | Burette clamp | A clamp is used to hold the burrette upright on a retort stand. |
|  | Crucible | A vessel used when heating a sample to a high temperature during “ashing”. |
|  | Crucible Tongs | Used to remove crucibles from the Bunsen or muffle furnace. |
|  | Erlenmeyer Flask / Conical Flask | A general purpose flask that can be heated and is used extensively during titrations. These flasks have graduations to give a rough indication of the volume of liquid contained. |
|  | Evaporating Basin | Used on the steam bath (water bath) to evaporate solutions to dryness. |
|  | Filter Flask / Buchner Flask | Used to support the Buchner funnel and to catch the filtrate when doing vacuum filtrations |
|  | Funnel | Used to support filter paper during filtration or for pouring liquids into narrow-mouthed containers |
|  | Measuring Cylinders | Used for measuring out liquids or solutions |
|  | Mortar and Pestle | Used to grind samples or chemicals to smaller pieces or into a powder form. |
|  | Pinch Clips | Used to clamp rubber tubing to act as a valve / seal. |
|  | Pipette Filler | Used when filling a pipette with dangerous / toxic liquids |
|  | Reagent Bottle | Used to store chemicals and solutions. |
|  | Reflux Condenser / Liebig Condenser | Used to condense the vapour being released by the boiling solution in the flask. |
|  | Stirring Rod | A glass rod used for mixing and stirring solutions |
|  | Test Tube | Used when mixing or boiling small quantities of liquids or solutions |
|  | Test Tube Brush | Used for cleaning test tubes. |
|  | Test Tube Holder | Used to hold hot test tubes. |
|  | Test Tube Rack | Used to hold a number of test tubes in an upright position. |
|  | Thermometer | Used to measure temperature |
|  | Volumetric Flask | Volumetric flasks are used for precise dilutions and preparation of standard solutions. |
|  | Wash Bottle | Used to deliver water in small quantities when making to the mark or when washing and rinsing glassware |
|  | Watch Glass | A glass dish used to cover beakers and funnels to minimise evaporation. These are also used to hold stoppers removed from reagent bottles to prevent them from becoming contaminated |
|  | Wire Gauze | Used to spread the heating effect of a Bunsen flame. |
|  | Wire Triangle (Clay Pipe Triangle) | Used to support a crucible on a tripod stand. |

Learning activity 1.2: Individual Learning activity: 30 minutes (30 marks)

Learning Objective: Correctly identify and describe the use of laboratory equipment.

Task: Fourteen (14) pieces of laboratory equipment are illustrated in the first column of the table below. Provide the name of, and describe the use of, each piece of laboratory equipment by completing the second and third columns of the table.

| IMAGE OF LABORATORY EQUIPMENT | NAME OF LABORATORY EQUIPMENT | USE OF LABORATORY EQUIPMENT |
| --- | --- | --- |
|  | Analytical Balance | Used for accurate massing (weighing) to an accuracy of 4 decimal places |
|  | Automatic Polarimeter or Saccharimeter | Measures the angle of rotation of the plane of polarised light as it passes through a sugar solution (pol). The angle of rotation is proportional to the concentration of sugar in the solution. |
|  | Conductivity Meter | Used to measure the specific conductance of a solution. Using a calculation the conductivity of a solution can be used to determine the amount of inorganic material dissolved in the solution (conductivity ash). |
|  | Constant Temperature Water Bath | A water bath that keeps water at a constant temperature. |
|  | De-ionizer | Used for producing de-ionised water which is used for making up solutions and rinsing. It contains a resin that removes impurities (salts) from the water. |
|  | Electronic Top Pan Balance | It is used for massing (weighing) to 1 or 2 decimal places. |
|  | Moisture Oven | Used to dry samples of sugar and filter cake so that the moisture content can be determined. |
|  | Muffle Furnace | Used to burn sugar, molasses cane, bagasse and coal completely so that the ash content can be determined. |
|  | pH Meter | Measures the degree of acidity of alkalinity of a solution. |
|  | PI Tumbler or Grenfell Tumbler | Used to tumble the cookie jar when determining the preparation index (PI) on shredded cane. |
|  | Refractometer / Precision Refractometer | Measures the angle of refraction (bending) of light passing through a sucrose solution |
|  | Sieve Shakers | Used for shaking sets of sieve to separate a sample into its different particle sizes. |
|  | Spectrophotometer | Measures the light absorbed by a solution |
|  | Vacuum oven | Used to dry samples at temperatures lower than 1000C (Also known as a freeze dryer). |

Knowledge Topic 2: Specific laboratory techniques (5%)

Topic elements to be covered include:

- KT0201 Sampling

- KT0202 Cleanliness

- KT0203 Chemicals

- KT0204 Gasses

- KT0205 Standard Methods

- KT0206 Liquid Levels

- KT0207 Temperature

- KT0208 Safety

Internal Assessment Criteria and Weight

- IAC0201 Laboratory techniques for specific analytical procedures can be explained

- Weight 5%

Learning activity 2: Individual Learning activity: 60 minutes (80 marks)

Learning Objective: Explain the laboratory techniques for a specific set of analytical procedures routinely used in a Sugar Laboratory.

Task: Read the following questions carefully and write your answers in the spaces provided.

- Name the 4 main purposes of the laboratory. (4)

- To control the process - To detect and indicate the extent of the losses - To supply management with information for financial and administrative purposes - To enable comparisons with other mills

- Explain the terms “representative sample” and “biased sample”. (2)

A representative sample is a true reflection of the bulk material. A biased sample is a sample that is not representative

- Name 6 characteristics of a good laboratory worker. (6)

- Interested and enthusiastic - Patient - Self-confident - Integrity - Neatness - orderliness

- Explain how you check that a glass container is clean. (3)

- Place only enough distilled water into the vessel so that, when it is swirled, the entire inner surface is wetted. - Swirl the vessel. - Empty the water from the vessel. - If the water remains as an unbroken film on the glass, the vessel is clean. If the water collects in drops, the vessel is dirty.

- State 12 precautions that must be taken when working with glassware. (12)

- Do not overheat or cool suddenly. - Do not apply excessive pressure as the glass could shatter. - Do not force glassware. - Do not apply vacuum unless the glassware is designed to be used under vacuum. - Use a protective screen where there is possibility of explosion or implosion, for example when vacuum is applied to an ordinary Erlenmeyer flask. - Protect your hands when cutting or breaking glass tubing. - When fitting glass tubing into a rubber, polish the ends (round end in flame), lubricate with glycerine or vaseline and hold the glass with a cloth in order to protect your hands in case of accidental breakage. - If glass is broken, it must not be picked up with your hands, but with a brush and pan. For very fine splinters, a wet tissue may be used. Broken glassware must not be thrown into a bin where other people could get cut handling the glass. It must be wrapped in paper first. A specially designated bin must be set aside for broken glassware. - Do not use cracked or broken glassware. - Do not use dirty glassware. - Handle hot items with tongs. - Never leave vessels unattended when evaporation work is in progress. If the heat source is not adjusted correctly the vessel may crack or explode as dryness is approached. The temperature should be lowered gradually as the liquid level drops. - Caution should be exercised when removing glassware from a heat source and it must never be placed onto a cold or damp surface. Sudden temperature changes may cause the vessel to break. - Heat must never be applied to a badly scratched or etched vessel as the thermal strength will have been greatly reduced. - A point source of heating (Bunsen flame) must never be applied directly to a vessel as this will greatly increase the chance of breakage. A wire gauze needs to be used to distribute the heat across a greater area. - When very hot items have been removed from the muffle furnace, the heat should always be reduced by placing on a metal gauze or asbestos mat before placing them into a desiccator. - Heat vessels by slow movement of the vessel across to the heat source to ensure even heating. - Anti-bumping devices, such as powdered pumice or glass beads, should be used in the vessel, when rapid heating is required. Material with sharp edges such as broken porcelain must NOT be used as an anti-bumping device. This will cause internal abrasion and reduce the mechanical and thermal strength of the vessel. - Glassware must be dry before being placed on a hot plate.

- (a) What is dermatitis? (1)

This is one of the most common occupational diseases. It is an inflammation of the skin, caused by dust, liquid or other external agents.

- How can it be prevented? (2)

The best preventative measure against dermatitis is cleanliness. By keeping one’s hands clean and dry the possibility of dermatitis will be reduced.

- State 3 safety precautions to be taken when dealing with chemicals. (5)

- Always use protective clothing - When pipetting dangerous liquids, pipette filler must always be used. - Do not put stoppers on the bench top where someone else may come into contact with the acid residue (use a watch glass). - Always pour from the side away from the label so that the writing on the side does not become illegible. - All mercury containers should be well stoppered and labelled. - Always use a protective mask or respirator and where possible carry out work in a fume cupboard.

- List the effects of good housekeeping in the laboratory. (5)

- Time will be saved. - More space will be provided. - Injuries will be reduced /avoided. - Fire risk will be reduced. - Damage to equipment will be reduced. - Analytical results will improve.

- (a)  List the 3 precautions to be taken when reading a liquid level in a measuring cylinder or burette.  (3)

- The vessel must be held vertically (i.e. straight up). - The eye must be level with the bottom of the meniscus. - The position of the bottom of the meniscus must be determined relative to the closest scale marking.

(b)  List the 3 precautions to be taken when making to the mark in a volumetric container. (3)

- The vessel must be held vertically. - The eye must be level with the graduation mark. When the eye is at the correct position a circular graduation mark will appear as a single line. - The bottom of the meniscus must be brought to coincide with the graduation mark. The circular graduation mark becomes the straight line tangent to the curve at the surface of the liquid. Identifying the bottom of the meniscus accurately is of prime importance. It is a skill that may initially require some practice since the meniscus appears to consist of several layers, the bottom being absolutely clear. To assist accurate readings the meniscus can be highlighted using a strip of darkly coloured paper about 6 cm long to 2 cm wide.

- Explain why a volumetric flask must be held by its neck. (3)

To prevent your hands heating the volumetric flask and hence affecting its accuracy.

- (a) Why are watch glasses used? (2)

When gravity filtrations are done or solutions are left standing, a watch glass must be used at all times.

(b) How is a watch glass placed?

- on a beaker (1)

When covering beakers containing samples / solutions, the watch glass must be placed concave side up.

- on a filter funnel (1)

The top of the filtering funnel must be covered with a watch glass with the convex side up.

- State 9 precautions that must be kept in mind when dispensing from a reagent bottle.  (12)

- Estimate how much reagent will be needed before the reagent bottle is opened. Have a suitable beaker and watch glass or piece of paper ready on which to place the lid or stopper. - When pouring out of the bottle the label must face the palm or to the side. This is done so that any liquid remaining on the lip of the bottle will not drain onto the label and damage it. - The bottle must not be left opened for longer than is absolutely necessary. - No unused portion of a reagent may be returned to the bottle. This will avoid contamination of the good reagent in the bottle. - The stopper of a reagent bottle must NEVER be placed on the shelf or on the work bench. It must be placed on a clean watch glass or clean piece of paper or held between the thumb and fingers of one hand. The watch glass must be washed afterwards. - Never insert a pipette into the reagent bottle. Always pour from the bottle into a beaker, and pipette from the beaker. - Stopper the bottle immediately after the reagent has been dispensed. - Keep the reagent bottle absolutely clean, especially round the neck and mouth of the bottle. - All bottles must be labelled.

- Explain how a thermometer is used. (1)

When measuring temperature hold the thermometer at the uppermost end so that heat transfer from the hand will not affect the reading. Never use a thermometer as a stirring rod.

- State 3 precautions to be taken when using wash bottles. (3)

- All wash bottles must be clearly labelled - Never interchange the contents or labels of bottles - Under no circumstances must the fine jet be removed. - Hot liquids must never be used in a polythene wash bottle.

- (a) What is the purpose of a desiccator? (1)

To store substances in a dry atmosphere.

(b) State 3 precautions to be taken when working with a desiccator. (3)

- The desiccator must always be kept spotlessly clean - The lid of the desiccator may never be placed on the work bench or shelf where the ground glass joint could become contaminated with dirt.

- State the 7 statements that must be included in a laboratory report. (7)

- Details of sample - Date - Name of analyst - Objective of work - Record of all masses, volumes or any other measurement - Standard method reference - Signature

Knowledge Topic 3: Arithmetical calculations (10%)

Topic elements to be covered include:

- KT0301 Terminology

- KT0302 Calculation rules

- KT0303 Fractions and decimals

- KT0304 Cubes and squares

- KT0305 Percentages and ratios

Internal Assessment Criteria and Weight

- IAC0301 Calculation are correctly performed

- Weight 10%

Learning activity 3: Individual Learning activity: 4 hours (410 marks)

Learning Objective: Perform the mathematical calculations correctly

Task: Read the following questions carefully and write your answers in the spaces provided.

3.1. Add (13)

| - 3 + 9 | 12 |
| --- | --- |
| - 2 + 9 | 11 |
| - 8 + 3 | 11 |
| - 5 + 6 | 11 |
| - 9 + 3 | 12 |
| - 9 + 4 | 13 |
| - 5 + 7 | 12 |
| - 4 + 9 | 13 |
| - 8 + 5 | 13 |
| - 7 + 7 | 14 |
| - 8 + 6 | 14 |
| - 8 + 7 | 15 |
| - 7 + 9 | 16 |

- Add (8)

| - 7 + 27 | 34 |
| --- | --- |
| - 23 + 49 | 72 |
| - 29 + 71 | 100 |
| - 34 + 22 | 56 |
| - 36 + 18 | 54 |
| - 56 + 43 | 99 |
| - 79 + 36 | 115 |
| - 62 + 35 | 97 |

- Add (9)

| - 5 865 + 1 977 | 7842 |
| --- | --- |
| - 349 + 224 + 113 | 686 |
| - 25 362 + 16 549 + 28 437 | 70348 |
| - 238 + 653 + 275 + 586 + 21 | 1782 |
| - 408 + 207 + 265 | 889 |
| - 2 348 + 1 886 + 2 675 | 6918 |
| - 53 856 + 29 567 + 14 385 | 97817 |
| - 125 + 908 + 576 + 56 + 102 | 1776 |
| - 5 396 785 + 255 137 + 2 856 325 + 8 753 | 8517009 |

- Subtract (13)

| - 12 – 4 | 8 |
| --- | --- |
| - 18 – 9 | 9 |
| - 14 – 8 | 6 |
| - 17 – 8 | 9 |
| - 13 – 8 | 5 |
| - 13 – 4 | 9 |
| - 11 – 9 | 2 |
| - 12 – 5 | 7 |
| - 13 - 6 | 7 |
| - 13 - 7 | 6 |
| - 15 - 9 | 6 |
| - 14 - 5 | 9 |
| - 13 - 5 | 8 |

- Write down the missing numbers (10)

| - ____ - 5 = 6 | 11 |
| --- | --- |
| - ____ - 6 = 5 | 11 |
| - ____ - 8 = 3 | 11 |
| - ____ - 8 = 5 | 13 |
| - ____ - 9 = 4 | 13 |
| - ____ - 5 = 7 | 12 |
| - ____ - 6 = 7 | 13 |
| - ____ - 8 = 9 | 17 |
| - ____ - 8 = 6 | 14 |
| - ____ - 7 = 9 | 16 |

- Subtract (13)

| - 13 - 2 | 11 |
| --- | --- |
| - 19 - 14 | 5 |
| - 19 - 18 | 1 |
| - 24 - 20 | 4 |
| - 49 - 45 | 4 |
| - 37 - 22 | 15 |
| - 43 - 30 | 13 |
| - 38 - 35 | 3 |
| - 88 - 81 | 7 |
| - 57 - 44 | 13 |
| - 11 - 6 | 5 |
| - 10 - 7 | 3 |
| - 12 - 8 | 4 |

- Write the answers (26)

| - (1) + (-1) | 0 |
| --- | --- |
| - (-2) + (-3) | -5 |
| - (3) + (-5) | -2 |
| - (-5) + (2) | -3 |
| - (-6) + (-7) | -13 |
| - (-2) + (-3) + (-1) | -6 |
| - (-1) + (-2) + (2) | -1 |
| - (-3) + (-2) + (6) | 1 |
| - (-2) + (-3) + (5) | 0 |
| - (-4) + (-1) + (2) | -3 |
| - (-1) + (-1) + (-1) + (7) | 4 |
| - (-3) + (0) + (-3) | -6 |
| - (2) + (2) + (2) + (-6) | 0 |
| - (-4) + (4) + (-1) | -1 |
| - (1) + (0) + (-4) + (-1) | -4 |
| - (-2) + (-1) + (1) | -2 |
| - (-2) + (2) + (-2)+ (2) | 0 |
| - (-1) + (0) + (1) | 0 |
| - (-3) - (-2) | -1 |
| - (-3) - (2) | -5 |
| - (3) - (-2) | 5 |
| - (-17) - (-15) | -2 |
| - (-20) - (-20) | 0 |
| - (8) + (-12) | -4 |
| - (-1) + (-5) - (4) | -10 |
| - (-2) - (-5) + (-3) | 0 |

- Calculate the products (6)

| - 29 × 6 | 174 |
| --- | --- |
| - 37 × 5 | 185 |
| - 43 × 4 | 172 |
| - 57 × 6 | 342 |
| - 63 × 8 | 504 |
| - 69 × 5 | 345 |

- Calculate the products (6)

| - 173 × 25 | 4325 |
| --- | --- |
| - 73 × 58 | 4234 |
| - 45 × 2575 | 115875 |
| - 318 × 36 | 11448 |
| - 78 × 75 | 5850 |
| - 432 × 25 | 10800 |

- Calculate the products (18)

| - 251 × 346 | 86846 |
| --- | --- |
| - 444 × 333 | 147852 |
| - 504 × 360 | 181440 |
| - 555 × 444 | 246420 |
| - 650 × 205 | 133250 |
| - 321 × 319 | 102399 |
| - 385 × 250 | 96250 |
| - 465 × 158 | 73470 |
| - 436 × 306 | 133416 |
| - 25 ÷ 5 | 5 |
| - 32 ÷ 8 | 4 |
| - 30 ÷ 5 | 6 |
| - 35 ÷ 7 | 5 |
| - 36 ÷ 4 | 9 |
| - 63 ÷ 7 | 9 |
| - 16 ÷ 8 | 2 |
| - 27 ÷ 9 | 3 |
| - 36 ÷ 6 | 6 |

- Tabulate the factors (or divisor) of the following numbers (5)

| - 12 | 1,2,3,4,6,12 |
| --- | --- |
| - 15 | 1,3,5,15 |
| - 18 | 1,2,3,6,9,18 |
| - 27 | 1,3,9,27 |
| - 30 | 1,2,3,5,6,10,15,30 |

- Write down the missing numbers (10)

| - ____ ÷ 7 = 4 r 3 | 30 |
| --- | --- |
| - ____ ÷ 6 = 9 r 2 | 55 |
| - ____ ÷ 5 = 8 r 2 | 41 |
| - ____ ÷ 7 = 6 r 1 | 43 |
| - ____ ÷ 8 = 7 r 5 | 60 |
| - ____ / 8 = 3 r 6 | 29 |
| - ____ / 7 = 7 r 3 | 51 |
| - ____ / 9 = 7 r 3 | 66 |
| - ____ /58 = 7 r 2 | 418 |
| - ____ /55 = 9 r 1 | 498 |

- Complete the following number sentences (13)

| - 35 ÷ 7 | 5 |
| --- | --- |
| - 24 ÷ 8 | 3 |
| - 45 ÷ 9 | 5 |
| - 20 ÷ 10 | 2 |
| - 63 ÷ 9 | 7 |
| - 350 ÷ 7 | 50 |
| - 240 ÷ 8 | 30 |
| - 450 ÷ 9 | 50 |
| - 200 ÷ 10 | 20 |
| - 630 ÷ 9 | 70 |
| - 3 500 ÷ 7 | 500 |
| - 2 400 ÷ 8 | 300 |
| - 4 500 ÷ 9 | 500 |

ORDER OF OPERATIONS:

- Simplify (26)

| - 2 + (3 × 2) | 8 |
| --- | --- |
| - (2 + 3) × 2 | 10 |
| - 10 - 4 - 2 | 4 |
| - 10 - (4 - 2) | 8 |
| - (2 × 3) - 1 | 5 |
| - 2 × (3 - 1) | 4 |
| - 8 + (8 ÷ 2) | 12 |
| - (8 + 8) ÷ 2 | 8 |
| - 8 + (8 ÷ 2) | 12 |
| - (7 - 2) + (3 - 1) | 7 |
| - 7 - 2 + 3 - 1 | 7 |
| - 18 - 2 ÷ 2 + 2 | 19 |
| - (18 - 2) ÷ (2 + 2) | 4 |
| - (3) × (6) | 18 |
| - (4) (3) | 12 |
| - (3) × (-2) | -6 |
| - (3) × (-10) | -30 |
| - (-2) × (3) | -6 |
| - (15)(-2) | -30 |
| - (-3)(3) | -9 |
| - (-12)(-3) | -36 |
| - (-2)(-5) + 4 | 14 |
| - (-3)(3) + (2) (-3) + (1) (-5) | -18 |
| - ((-2) × (5)) - (-2) | -8 |
| - (-3)(-2)(3)(-5) | -90 |
| - (-4)4(-2) | 32 |

FRACTIONS:

- Convert to decimal fractions (10)

| - 22/50 | 0,44 |
| --- | --- |
| - 8/125 | 0,06 |
| - 1/2 | 0,5 |
| - 17/50 | 0,34 |
| - 9/20 | 0,45 |
| - 18/25 | 0,72 |
| - 13/4 | 3,25 |
| - 3/4 | 0,75 |
| - 1/25 | 0,04 |
| - 5/8 | 0,625 |

- Convert to common fractions in lowest terms (10)

| - 0,5 | 1/2 |
| --- | --- |
| - 0,375 | 6/16 |
| - 0,625 | 5/8 |
| - 0,75 | ¾ |
| - 0,68 | 17/25 |
| - 0,875 | 7/8 |
| - 0,4 | 2/5 |
| - 0,08 | 2/25 |
| - 0,85 | 17/20 |
| - 0,1 123 | 11.23/100 |

- Write down in the form of decimal fractions (24)

| - 11/10 | 1,1 |
| --- | --- |
| - 725/100 | 7,25 |
| - 375/100 | 3,75 |
| - 78/10 | 7,8 |
| - 25/100 | 0,25 |
| - 81/1000 | 0,081 |
| - 9/100 | 0,09 |
| - 25/100 | 0,25 |
| - 11/100 | 0,11 |
| - 115/100 | 1,15 |
| - 13/1 000 | 0,013 |
| - 15/1000 | 0,015 |
| - 17/10 | 1,7 |
| - 75/1000 | 0,075 |
| - 40/100 | 0,4 |
| - 23/24 | 0,96 |
| - 545/72 | 7,57 |
| - 71/75 | 0,95 |
| - 42/50 | 0,84 |
| - 87/95 | 0,92 |
| - 12/15 | 0,80 |
| - 1/25 | 0,04 |
| - 33/66 | 0,50 |
| - 44/88 | 0,50 |

- Write down the correct relationship sign; = or > or < (8)

| - 0,4 | < | 0,5 |
| --- | --- | --- |
| - 15/1000 | < | 0,15 |
| - 11/10 | < | 1,2 |
| - 5/100 | > | 55/1000 |
| - 0,18 | < | 0,19 |
| - 0,25 | < | 255/1000 |
| - 11/10 | = | 1,1 |
| - 0,08 | = | 0,081 |

- Add (14)

| - 2,3 + 1,5 | 3,8 |
| --- | --- |
| - 1,25 + 3,38 | 4,63 |
| - 0,125 + 5,628 | 5,753 |
| - 3,08 + 4,75 | 7,83 |
| - 6,025 + 3,105 | 9,13 |
| - 15,085 + 39,807 | 54,89 |
| - 3,25 + 5,128 | 8,38 |
| - 17,08 + 3,007 | 20,09 |
| - 13 + 15,5 | 28,5 |
| - 7,75 + 75 | 82,75 |
| - 98,354 + 3,8 + 36,085 +116,389 | 254,628 |
| - 113,073 + 45,75 + 308,9 + 7,857 | 475.58 |
| - 67,008 + 1 328,25 + 327,25 + 85 | 1807,51 |
| - 0,007 + 45 + 147,5 + 27,057 | 219,56 |

- Write the value of the digits which have been underlined in the following (5)

| 1 097.085 | 1 097.085 | 1 097.085 | 1 097.085 | 1 097.085 |
| --- | --- | --- | --- | --- |
| 9 | 0 | 8 | 0 | 5 |

- Subtract (9)

| - 0,9 - 0,5 | 0,4 |
| --- | --- |
| - 0,65-0,53 | 0,12 |
| - 2,075-0,705 | 1,37 |
| - 7,537-2,458 | 5,079 |
| - 3,123-1,347 | 1,776 |
| - 25,000-18,364 | 6,636 |
| - 7,50-3,25 | 4,25 |
| - 6,85-3,127 | 3,72 |
| - 0,39-0,389 | 0,001 |

- Write down the answers (13)

| - 0,7 × 10 | 7 |
| --- | --- |
| - 1,25 × 10 | 12,5 |
| - 6,85 × 100 | 685 |
| - 0,625 × 100 | 62,5 |
| - 0,035 × 1000 | 35 |
| - 0,005 × 1000 | 5 |
| - 3,7 ÷ 10 | 0,37 |
| - 0.02 ÷ 10 | 0,002 |
| - 3,81 ÷ 100 | 0,0381 |
| - 13,05 ÷ 10 | 1,305 |
| - 175,5 ÷ 1000 | 0,1755 |
| - 180,5 ÷ 1000 | 0,1805 |
| - 245,0 ÷ 10,0 | 24,5 |

- Calculate the squares of (5)

| - 4 | 16 |
| --- | --- |
| - 16 | 256 |
| - 50 | 2500 |
| - 62 | 3844 |
| - 14 | 196 |

- Calculate the cubes of (5)

| - 2 | 8 |
| --- | --- |
| - 8 | 512 |
| - 36 | 46656 |
| - 100 | 1000000 |
| - 24 | 13824 |

- Calculate the following quotients (5)

| - 43.42 ÷ 13 | 3.34 |
| --- | --- |
| - 131.95 ÷ 65 | 2.03 |
| - 60.45 ÷ 31 | 1,95 |
| - 811.3 ÷11 | 73.75 |
| - 1903.5 ÷ 81 | 23,5 |

- Calculate the quotient of 9 348 ÷ 38 and then write down the answers (10)

| - 93.48 ÷ 38 | 2,46 |
| --- | --- |
| - 934.8 ÷ 38 | 24,6 |
| - 9.348 ÷ 3.8 | 2.46 |
| - 93.48 ÷ 0.38 | 246 |
| - 9.348 ÷ 38 | 0.246 |
| - 934.8 ÷ 0.38 | 2460 |
| - 9.348 ÷ 0.38 | 24,6 |
| - 934.8 ÷380 | 2,46 |
| - 93.48 ÷ 3.8 | 24,6 |
| - 93.48 ÷ 380 | 0,246 |

- Calculate the square roots of the following (5)

| - 144 | 12 |
| --- | --- |
| - 49 | 7 |
| - 25 | 5 |
| - 529 | 23 |
| - 225 | 15 |

- Calculate the cube roots of the following (5)

| - 1 728 | 12 |
| --- | --- |
| - 343 | 7 |
| - 512 | 8 |
| - 1,0 | 1 |
| - 125 | 5 |

- Correct the following to 2 decimal places (6)

| - 12.574 | 12.57 |
| --- | --- |
| - 157.375 324 1 | 157.38 |
| - 12.575 | 12.58 |
| - 103 456.823 934 8 | 103456,82 |
| - 0.023 | 0,02 |
| - 2.151 | 2,15 |

- Correct the following to 3 decimal places (6)

| - 475.899 273 753 | 475,899 |
| --- | --- |
| - 0.038 473 9 | 0,038 |
| - 13.345 | 13,345 |
| - 56.475 95 | 56,476 |
| - 0.001 199 999 99 | 0,001 |
| - 54.354 83 | 54.355 |

PERCENTAGES

- Express the following as fractions (10)

| - 35% | 35/100 |
| --- | --- |
| - 160% | 160/100 |
| - 90% | 90/100 |
| - 12.5% | 12,5/100 |
| - 5% | 5/100 |
| - 0.375% | 0,375/100 |
| - 27.5% | 27,5/100 |
| - 75% | 75/100 |
| - 30% | 30/100 |
| - 33% | 33/100 |

- Express the following as percentages (5)

| - 1/5 | 20% |
| --- | --- |
| - 1/25 | 4% |
| - 0,4 | 40% |
| - 3/10 | 30% |
| - 13/50 | 26% |

- Write down the answers (5)

| - 1% of 300 | 3 |
| --- | --- |
| - 5% of 30 | 1,5 |
| - 75% of 40 | 30 |
| - 80% of 20 | 16 |
| - 20% of 60 | 12 |

- Express the following as percentages (5)

| - 5 of 200 | 2,5% |
| --- | --- |
| - 25 of 300 | 8.3% |
| - 54 of 200 | 27% |
| - 40 of 160 | 25% |
| - 15 of 75 | 20% |

- Of 150 pupils in a class, 100 passed their exams. What % passed? (1)

66.67%

- If VAT IS 13% what do you pay for the items marked below (5)

| - 50c | 56c |
| --- | --- |
| - R1,70 | R1.92 |
| - R15,50 | R17.51 |
| - R12,34 | R13.94 |
| - R9,10 | R10.28 |

- Find 7% of 1 million people (1)

70000 people

- You buy a bicycle on H.P. over two years. If the interest rate is 20% p.a. What do you pay altogether if the cost price is R 425? (1)

R595

- Calculate the % increase of the following (4)

| - milk from 60c to 65c a litre | 8,4% |
| --- | --- |
| - bread from 83c to 89c a loaf | 7,3% |
| - pencils from 20c to 25c each | 25% |
| - meat from R3,99 to R4,16 a kg | 4,3% |

- Calculate the price if the following discounts are given (5)

| - 10% on R 110 | R99 |
| --- | --- |
| - 33.3% on R 1289,89 | R860.36 |
| - 25% on R 45 000 | R33 750 |
| - 2.5% on R12,50 | R12.18 |
| - 15% on R 47,95 | R40.76 |

- What is the % profit or loss if a dealer buys an article for 20c and sells it for (5)

| - 22c | 10% |
| --- | --- |
| - 28c | 40% |
| - 30c | 50% |
| - 18c | -10% |
| - R1,20 | 500% |

- At what price must the following be sold to make a profit of 15%? (5)

| - potatoes at R 2,45 a pocket | R2,82 |
| --- | --- |
| - clocks at R9,45 each | R10,87 |
| - a bicycle at R 143 | R164,45 |
| - a car at R450 | R517.50 |
| - shoes at R12,56 a pair | R14,44 |

RATIO

- 4 l of water is mixed with 30 l of alcohol. What is the ratio of water to alcohol? (1)

4:30

- In a town there are 10 000 dogs, 5 000 cats and 25 000 people (3)

| - How many dogs are there for every cat? | 2 dogs |
| --- | --- |
| - How many people for every cat? | 5 people |
| - How many people for every dog? | 2,5 people |

- Divide R 450 in the ratio 3 : 5 (2)

R56.25

RATE

- A man is paid R2 160 for 360 hours work. What is his hourly rate and how long must he work to earn R1? (2)

R6 per hour

10 minutes

- How long will it take a man on horseback to ride around his farm of which the lengths of the sides are 3,075 km, 2,704 km, 1,600 km and 3,356 km, if he rides at the rate of 9.5 km in 1 hour? (2)

1.130 hrs.

- A bricklayer lays 300 bricks in 1 hour 20 minutes. How many bricks will he lay in 3 hours 40 minutes? (2)

660 bricks

GENERAL

- Soccer players are making a fence for their soccer field. What is the total length of timber required for the poles if each pole is 1.117 m long and they require 100 poles? (2)

1.117m X 100 poles

= 111.700 m

- If the mass of the truck and its load of cement is 5.110 t and that of the truck alone is 1.682 t. what is the mass of 1 pocket of cement if there are 80 pockets on the truck? (2)

42.85 kg per bag

- In a bus bringing people to work there were 32 people who paid 90c each, 18 who paid 60c each and 2 who paid 50c each and 16 who paid 40c each. How much did the bus driver take altogether and what was his name? (2)

R47.00

Any relevant name can be given.

- Find the cost of fitting a rail to the walls of a room 6.7 m long by 6.1 m wide, if the rails cost 90.9c a metre. (2)

R3715.08

- John’s home is on a rectangular piece of ground which is 291.8 m long and 218.4 m wide. There is a path around the ground which is 7.25 m longer than the perimeter of the ground. How far does John cycle if he cycles on the path round the ground 10 times? (2)

7.25m x 10times

72.5 meters

- Show eight thousand four hundred and sixty four as a number. (1)

8464

- Show 19/10 as a decimal. (1)

1.9

- Show 23.75 as a fraction. (1)

95/4

- Add three thousand eight hundred and fifty six to two thousand seven hundred and seventy six. (1)

3856+2776

6632

- Add 184 and 3 287. (1)

3471

- Subtract (3)

| - 754 from 1 393 | 639 |
| --- | --- |
| - 14,5 from 27,85 | 13,35 |
| - 81/2 from 12.75 | -27,75 |

- Subtract ten thousand and thirty four from one million five hundred and eighty one thousand, three hundred and twenty nine. (2)

1,581,329-10034

1571295

Knowledge Topic 4: Draw and interpret graphs (10%)

Topic elements to be covered include:

  - KT0401 Axis

  - KT0402 Scale

  - KT0403 Concentration Standard

  - KT0404 Rules

  - KT0405 Data

Internal Assessment Criteria and Weight

- IAC0401 Graphs are drawn accurately

- Weight 10%

Learning activity 4: Individual Learning activity: 4 hours (70 marks)

Learning Objective: Draw graphs accurately and demonstrate an ability to interpret graphs.

Task: Read the following questions carefully and draw the graphs instructed.

Draw the following graphs:

- Rainfall for 1987

| Month | Rainfall (mm) | Month | Rainfall (mm) |
| --- | --- | --- | --- |
| January | 180 | July | 2 |
| February | 20 | August | 5 |
| March | 140 | September | 4 |
| April | 65 | October | 1 |
| May | 35 | November | 120 |
| June | 5 | December | 110 |

- Phosphate standard graph

| Optical density | mg phosphate in solution per 100 ml |
| --- | --- |
| 0.20 | 5 |
| 0.38 | 10 |
| 0.62 | 15 |
| 0.81 | 20 |
| 1.02 | 25 |
| 1.16 | 30 |
| 1.39 | 35 |
| 1.53 | 40 |
| 1.76 | 45 |
| 2.00 | 50 |

- Sucrose % cane – 1987

| Month | Sucrose % of cane |
| --- | --- |
| April | 11.34 |
| May | 12.05 |
| June | 12.51 |
| July | 13.17 |
| August | 13.62 |
| September | 13.71 |
| October | 13.48 |
| November | 12.66 |
| December | 12.29 |

- Extraction – 1987

| Month | Extraction (%) |
| --- | --- |
| April | 96.49 |
| May | 96.89 |
| June | 96.89 |
| July | 96.97 |
| August | 97.02 |
| September | 97.24 |
| October | 97.25 |
| November | 97.08 |
| December | 97.02 |

- Boiling house recovery – 1987

| Month | Boiling house recovery (%) |
| --- | --- |
| April | 87.23 |
| May | 87.80 |
| June | 89.00 |
| July | 89.07 |
| August | 88.62 |
| September | 87.64 |
| October | 87.67 |
| November | 86.97 |
| December | 86.36 |

- Overall recovery – 1987

| Month | Overall recovery (%) |
| --- | --- |
| April | 84.17 |
| May | 85.07 |
| June | 86.23 |
| July | 86.38 |
| August | 85.99 |
| September | 85.22 |
| October | 85.26 |
| November | 84.43 |
| December | 83.78 |

- Plot extraction B.H.R and O.R on to one graph using the information from question 4, 5 and 6.

Knowledge Topic 5: Units of measurement (10%)

Topic elements to be covered include:

- KT0501 Measurement of Quantity

- KT0502 Derived Units

- KT0503 Length

- KT0504 Area

- KT0505 Volume

Internal Assessment Criteria and Weight

- IAC0501 An understanding of measurement units can be demonstrated

- Weight 10%

Learning activity 5: Individual Learning activity: 40 minutes (32 marks)

Learning Objective: Demonstrate an understanding of the units of measurement.

Task: Read the following questions carefully and write your answers in the spaces provided.

- (a) How many basic units are used internationally? (1)

Seven

(b) Name 3 basic units. (3)

- Length- metre (m) - Mass-kilogram (kg) - Time-second (s)

- Name the prefixes used to designate the different multiples and sub-multiples of the basic unit. (5)

| Prefix | kilo- | Basic Unit |  | deci- |  | centi- |  | milli- |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| To convert to Basic Unit (u) | x 1000 | x 1 |  | ÷10 |  | ÷100 |  | ÷1000 |  |
| Factor to convert to the Basic Unit | × 1000 u | × 1 u |  | ÷ 0,1 u |  | ÷ 0,01 u |  | × 0,001 u |  |
| OR | × 103u | × 100u |  | × 10-1u |  | × 10-2u |  | × 10-3u |  |
| To convert between multiples | × 1000 ÷1000 |  | ×10 ÷10 |  | ×10 ÷10 |  | ×10 ÷10 |  |  |

| Examples: | Km | M | dm | cm | Mm |
| --- | --- | --- | --- | --- | --- |
|  | kg | g |  |  | Mg |

- State how to convert from: (7)

| - km to m: | X 1000 |
| --- | --- |
| - km to cm: | X 100000 |
| - km to mm: | X 1000000 |
| - mm to cm: | X 0.1 |
| - cm to m: | X 0.01 |
| - m to km: | X 0.001 |
| - mm to m: | X 0.001 |
| - cm to km: | X 0.00001 |

- State how to convert from: (8)

| - km2 to m2: | 1000000 m2 |
| --- | --- |
| - km2 to cm2: | 10 000 000 000cm2 |
| - km2 to mm2: | 1000000000000mm2 |
| - mm2 to cm2: | 0.0100cm2 |
| - cm2 to m2: | 0.0001m2 |
| - m2 to km2: | 0.0000010km2 |
| - mm2 to m2: | 0.0000010m2 |
| - cm2 to km2: | 1,0e-10 km2 |

- State how to convert from: (8)

| - mm3 to cm3 | 0,001 cm3 |
| --- | --- |
| - cm3 to dm3 | 0,001 dm3 |
| - dm3 to mm3 | 1000000 mm3 |
| - cm3 to m3 | 0,000001 m3 |
| - dm3 to m3 | 0,001 m3 |
| - m3 to km3 | 1e-9 km3 |
| - km3 to m3 | 1000000000 m3 |
| - m3 to dm3 | 1000 dm3 |

Knowledge Topic 6: Use a balance (5%)

Topic elements to be covered include:

- KT0601 Mechanical Balances

- KT0602 Electronic Balances

- KT0603 Massing

Internal Assessment Criteria and Weight

- IAC0601 An understanding of the use of balances can be demonstrated

- Weight 5%

Learning activity 6: Individual Learning activity: 1.5 hours (42 marks)

Learning Objective: Demonstrate an understanding of the use of balances.

Task: Read the following questions carefully, implement the instructions and write your answers in the spaces provided or request the instructor to sign that you have performed the task satisfactorily.

Instructions

- Students to work in pairs. Each group collects the 10 items listed below and masses the items on the different balances available in the laboratory. (20)

|  |  | Top Pan Balance |  |  |  | Analytical Balance |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Item | Balance 1 |  | Balance 2 |  | Balance 3 |  | Balance 4 |  |
|  |  | 1 | 2` | 3 | 4` | 5 | 6 | 7 | 8 |
| 1 | 50 ml beaker |  |  |  |  |  |  |  |  |
| 2 | rubber stopper |  |  |  |  |  |  |  |  |
| 3 | filling funnel |  |  |  |  |  |  |  |  |
| 4 | nickel basin |  |  |  |  |  |  |  |  |
| 5 | watch glass |  |  |  |  |  |  |  |  |
| 6 | 10 glass beads |  |  |  |  |  |  |  |  |
| 7 | test tube |  |  |  |  |  |  |  |  |
| 8 | moisture dish |  |  |  |  |  |  |  |  |
| 9 | stirring rod |  |  |  |  |  |  |  |  |
| 10 | crucible |  |  |  |  |  |  |  |  |

- Working in your group, mass out each of the following items. Demonstrate your results to the instructor who will sign next to the item below. (8)

| - 30.0g refined sugar into a 100 ml beaker |  |
| --- | --- |
| - 50g of raw sugar into a 250 ml beaker |  |
| - 100.5g of silica gel into a 250 ml beaker |  |
| - 25.14g of sand into a moisture dish |  |
| - 1.234g of salt into a 50 ml beaker |  |
| - 3g ±1mg of celite into a nickel massing basin |  |
| - 5g ±0.5mg of pumice powder into a small beaker. Note: 0.5mg = 0.005g. Therefore 4 decimal places must be recorded. |  |
| - 1 spoonful of raw sugar on a watch glass and accurately finds the mass. |  |

- List 14 precautions that must be taken when using a balance. (14)

- The balance must be positioned in a permanent place on a firm foundation as free as possible from vibration. Specially constructed tables are usually used. - The balance must be shielded from draughts and from heat. - The balance must be level. - If the balance must be moved it must be done by a competent person. - The balance must be clean. All spillages must be cleaned up immediately. Powder spillages must be swept immediately. Liquor spillages must be wiped up at once. A damp cloth must be used to wipe the spill and then the balance must be dried well. - The maximum load of the balance (capacity) must be checked. This is stated on the balance and must not be exceeded under any circumstances. - Check that the accuracy required by the analysis is available from the balance being used. - Check the zero position of the balance and if necessary reset. N.B. The levelling and resetting are the only adjustments that a laboratory worker may make to the balance. If anything else is found to be wrong, it must be reported to the supervisor. - The balance must always be used according to the manufacturer’s instructions. - All movement of dials and the addition and removal of objects must be done gently. - The object to be massed must be at the same temperature as the balance. Warm objects in the balance cause air currents which render the massing inaccurate. Unequal expansion of the beam will introduce errors. - Powders and liquids must be massed in suitable containers. - Desiccants must not be placed in the balance as the air inside and outside the case should be in equilibrium. - After massing the balance must be reset. All the dials must be set to zero. All traces of spillages and all vessels must be removed from the balance. - The doors of the balance must be closed after use (if applicable).

Knowledge Topic 7: Use flasks, measuring cylinders and pipettes (5%)

Topic elements to be covered include:

- KT0701 Specific Flasks

- KT0702 Measuring Cylinders

- KT0703 Use a Pipette

Internal Assessment Criteria and Weight

- IAC0701 An understanding of the use of flasks, measuring cylinders and pipettes can be demonstrated

- Weight 5%

Learning activity 7: Individual Learning activity: 2 hours (40 marks)

Learning Objective: Demonstrate an understanding of the use of volumetric flasks, measuring cylinders and pipettes.

Task: Read the following questions carefully, implement the instructions and write your answers in the spaces provided or request the instructor to sign that you have performed the task satisfactorily.

Instructions

- Clean and dry a 50 ml volumetric flask and accurately find its mass to 4 decimal places using an analytical balance. Then accurately pipette 10 ml of water into the volumetric flask, mass the flask and repeat the exercise 4 times. (10)

Accurate pipetting technique would result in:

- The mass of the volumetric flask increasing by the same amount with each aliquot pipetted.

Signature of instructor:

- The level of water in the volumetric flask being at the mark after pipetting 5 aliquots of 10 ml is the water if at 200C.

Signature of instructor:

- Practice by pipetting 50 x 1 ml aliquots of water into a 50 ml volumetric flask using a large graduated pipette. (10)

After 50 aliquots assess your accuracy by checking to see how far off the mark the water level is in the volumetric flask.

Signature of instructor:

- State the 20 steps that must be followed when using a pipette. (20)

- Select a pipette of the required volume. - Make sure that it is clean, both inside and outside and dry on the outside. - Use a pipette filler when working with dangerous liquids. - When sucking ensure that the tip of the pipette is well below the liquid surface. - Rinse the pipette twice with distilled water. - Draw the water up to the bottom of the bulb. Any more is wasteful. - Rotate the pipette horizontally to wash the entire inner surface of the pipette to above the graduation mark. Steady the pipette by supporting it with the fingertips of the left hand just above the jet. - Discard the waste into a waste beaker through the jet – not through the mouthpiece. - Rinse with solution a total of three times. - Hold the pipette in a vertical position with the tip well below the surface of the solution to prevent sucking in air. - Do not touch the bulb because of the effect of temperature expansion. Hold the pipette by the stem. - Draw up the solution until the level is about 2cm above the graduation mark. - Close the top of the pipette with your index finger (A slightly moist finger forms a better seal). - Check that there are no air bubbles, especially in the jet. - Wipe the outside of the pipette with a clean tissue. - Hold the pipette vertically. By manipulating the index finger, allow the liquid level to drop until the concave base of the meniscus coincides with the graduation mark. Remember to avoid the error of parallax. Use the waste beaker to collect this excess solution. - Any liquid adhering to the jet must be removed. DO NOT use a tissue. Hold the pipette vertically and bring the side of the waste beaker into contact with the jet by tilting the vessel. - Place the receiving vessel beneath the pipette and allow the liquid to drain by removing the index finger. Hold the pipette vertically and tilt the vessel so that the side is in contact with the jet. Do not allow any splashing to occur. Steady the bottom of the pipette by resting it between the index and the middle fingers, while holding the receiving vessel with the thumb, third and fourth fingers (This technique is worth learning). - As the level drops, keep your eye on the meniscus. When the meniscus stops falling, start counting. Keep the jet in contact with the side of the vessel for 15 seconds. DO NOT BLOW. The pipette has been calibrated to take account of the last bit of solution remaining in the jet of the pipette. - Clean the pipette with distilled water, dry the outside and place in proper storage i.e. use a pipette stand. In order to protect the tip of the pipette it must always be stored in the pipette stand with the tip facing upward. This also prevents particles of dust etc. from entering the pipette and clogging the jet.

Knowledge Topic 8: Burettes and titration (5%)

Topic elements to be covered include:

- KT0801 Purpose

- KT0802 Definition

- KT0803 Method

Internal Assessment Criteria and Weight

- IAC0801 An understanding of the use of burettes to perform a titration can be demonstrated.

- Weight 5%

Learning activity 8: Individual Learning activity: 2 hours (45 marks)

Learning Objective: Demonstrate an understanding of the use of a burette to perform a titration.

Task: Read the following questions carefully, implement the instructions and write your answers in the spaces provided or request the instructor to sign that you have performed the task satisfactorily.

Instructions

- Describe a burette (3)

A burette is a graduated cylindrical tube of uniform bore. It has a stopcock at the bottom to control the flow through a narrow jet. Burettes are used in the laboratory to deliver measured volumes of liquids and are available in various capacities. They are graduated according to their size and intended use and are usually subdivided into 0, 1 cm3.

- Explain what a “titration” is. (3)

A titration is the controlled addition of a solution (in a burette) to a known volume of another solution (in an Erlenmeyer flask) until a definite endpoint is reached, showing that two chemicals have reacted completely.

- State the 14 steps to be followed when using a burette. (14)

- The burette must first be cleaned and rinsed with distilled water. - Rinse the burette three times with a portion of the solution to be used. Drain through the stopcock and jet. Make sure when rinsing that the entire surface of the burette is reached by the solution. Using more solution than is necessary is wasteful. - Using a burette filling funnel, fill the burette to well above the zero mark. Tap the burette sharply to allow air bubbles to rise to the top. The air bubbles in the jet must be removed by allowing the solution to run out of the jet. Remove this bubble first, top up if necessary, and then remove the funnel. If the bubbles persists, the burette must be emptied, cleaned and the process repeated. NB. The filling funnel must be placed on a watch glass or in a small clean beaker. - When zeroing the burette, it must be clamped vertically in a burette stand using a burette clamp. - Wipe the entire outside of the burette with clean tissue to remove all traces of solution. - Run the solution into a waste beaker until the concave bottom of the meniscus coincides with the zero mark. Remember to keep your eye level with the mark. - Remove the drop adhering to the jet by bringing the inside of the waste beaker into contact with the tip of the jet. To accomplish this, the waste beaker should be held at an angle to the axis of the jet. - Check the zero setting again before starting titration. - The burette stopcock is operated with the left hand using the thumb, index and middle fingers. The thumb is placed on the front of the stopcock and the two fingers at the back of the stopcock. The nut faces the palm. By moving the two fingers it is possible to operate the stopcock, allowing 1 drop at a time to pass through the jet. The right hand is then used to swirl the flask, the little finger being used to stabilise the Erlenmeyer flask as it is swirled. It is also possible to set the tap quite loosely so that it can be “flicked” through 180° resulting to small droplets being dispensed. - When the solution in the flask is about to change colour it may be desirable to dispense a “small” drop by opening the tap slightly, allowing a diminutive droplet to form at the tip of the jet and then transferring it to the Erlenmeyer flask by touching it with the side of the flask. - When titrating add about 2 – 5 drops of indicator to the solution in the Erlenmeyer flask. Titrate until the colour starts to change, then add the solution dropwise until the end-point is almost reached. - Wash down the sides of the Erlenmeyer flask using a wash bottle. It is vital that the flask be swirled, with direction changes throughout the titration, to ensure thorough mixing. - Remove the solution adhering to the burette jet by touching the flask to the jet. Swirl the flask to mix in this portion. This should change the colour, giving the end point. If not, carefully continue the titration. - Read the final volume immediately and write it down on your report. Use the same precautions as when reading the zero. The analysis should be repeated until duplicate titres are within 0,1 cm3 of each other. - After use the burette must be thoroughly cleaned before being stored. The burette must be allowed to dry naturally while clamped upside down.

- Examine a burette closely. Dismantle the top and ensure that the tap and tube is clean. Reassemble the tap and tighten it so that it is not loose, but not so tight as to prevent you from turning it easily. If the tap is too loose, it will leak and if too tight you run the risk of breaking the burette. (5)

Signature of instructor:

- Dispense about 120 ml each of 0.1 M sodium hydroxide (NaOH) solution and 0.1 M hydrochloric acid (HCl) solution. Pipette 25 ml of NaOH solution into an Erlenmeyer flask and titrate with HCl solution using phenolphthalein as an indicator. The end point is when the phenolphthalein changes from red to pale pink. Repeat the titration until 3 identical readings (titres) are obtained. (20)

Signature of instructor:

Knowledge Topic 9: Filtration techniques (10%)

Topic elements to be covered include:

- KT0901 Filter Paper

- KT0902 Clarification Agent

- KT0903 Gravity Filtration

- KT0904 Vacuum Filtration

- KT0905 Pressure Filtration

Internal Assessment Criteria and Weight

- IAC0901 An understanding of the use of filtration techniques can be demonstrated.

- Weight 10%

Learning activity 9: Individual Learning activity: 4 hours (65 marks)

Learning Objective: Demonstrate an understanding of the use of different filtration techniques.

Task: Read the following questions carefully, implement the instructions and write your answers in the spaces provided or request the instructor to sign that you have performed the task satisfactorily.

Instructions

- List the different types of filters used in sugar analysis and state their uses. (12)

- Whatman No. 1 filter paper – insoluble matter in juice - Whatman No. 5 filter paper – starch - Whatman No. 6 filter paper – brix and turbidity - Whatman No. 91 filter paper – pol and starch - Whatman G.F.A (glass fibre) – insoluble matter in effluent. - 0,45µm cellulose membrane - colour

- (a)  Explain what a “filter aid” is.(3)

Filter aid is primarily used not only to improve the filtration rate, but it also increases the clarity of the filtrate. It is inert i.e. it does not change the composition of the sample but acts like an extra piece of filter paper provided it is used correctly

(b) Name 2 filter aids used in a mill laboratory. (2)

acid washed Kieselguhr and Celite 577

- (a) Explain what a clarification agent is. (2)

Basic lead sub-acetate is a clarification agent and it is used to clarify solutions of pol determinations.

(b) When is a clarification agent used? (1)

it is used to clarify solutions of pol determinations

- State the 5 steps to be followed when performing a gravity filtration.(5)

- Pour approximately 100cm3 of juice (for brix) or 200cm3 of juice (for pol), into a clean, dry glass bottle, fitted with a stopper. - Add the required amount of lead (for pol analysis) or 1g of filter aid (for brix analysis). Fit the stopper and shake well. - Place a filter funnel containing the required filter paper into a beaker. - If it is brix filtration the juice must be poured into the folded filter paper immediately before the filter aid can settle out. It is important to push the folded filter paper down into the filter funnel and to hold it down while the solution is poured with the other hand. This will allow the watch glass to be supported by the rim of the filter funnel, thus forming a better seal. During pol filtration, allow the solution to stand to allow the floc to form. The time it takes will depend on the product being analysed. Once the floc has formed, pour the sample into the folded filter paper. - The funnel must now be covered with a watch glass to minimise evaporation. - The first 10 – 25cm3 of filtrate (first runnings) must be discarded and the funnel transferred to a clean and dry breaker. This is very important because the first runnings are more concentrated than the rest of the solution due to water being withdrawn during the wetting of the filter paper. The first runnings may also be cloudy due to some small particles of filter aid or precipitate / residue being initially washed through the filter paper.

- State the 10 steps to be followed during a vacuum filtration if you wish to recover the residue.(10)

- Fit a Buchner funnel and rubber cone into a filter flask. - Connect the flask to a source of vacuum (a pump or water jet). - Place the filter in the funnel the right way around and, under low vacuum, wet the paper with water. It is important to ensure that the paper fits neatly and is flat. - The precoating can now take place. Depending on the analysis 2 – 5g of Kieselguhr is massed into a beaker. Add water, or alcohol if starch is being determined, and make a slurry. - Pour the slurry down a glass rod onto the paper. Rinse the beaker and rod with a wash bottle to remove all the filter aid. Low vacuum is used to form the filter pad. - The filtration can now be carried out. Assume that the residue is required. The juice is poured slowly down a glass rod onto the precoated filter paper. When analysing for suspended solids the juice must be poured at a rate slower than the drainage rate of the paper. This is important since a layer of liquid must NOT form over the mat. - While filtering, stir the beaker contents. Note: This applies to suspended solids determinations but not to starch whose washing by decantation is preferable. - Since the residue is required wash the glass rod off into the beaker, wash the side of the beaker, pour the solution into the Buchner and rinse the beaker several times into the Buchner using the wash bottle. Keep the spout of the beaker over the funnel until this has been done then wash the inside and outside of the spout. Touch the spout to the inside surface of the funnel to remove the last drop. This practice will ensure that none of the solution runs down the outside of the beaker. - Increase the vacuum and wash the filter with distilled water or alcohol (depending on the analysis). Allow the filter to drain between washings. - Allow the filter to drain for 5 minutes under vacuum. Release the vacuum. The filter paper and contents can now be removed.

- Exercise 1: Gravity Filtration: Collect ± 100 ml of refined sugar solution that has been prepared by your Training Officer, add a spatula of pumice powder and stir the mixture.

(Pumice powder is made by grinding the crusty surface that forms when lava cools and sets.)

Filter the mixture via gravity filtration. The aim is to recover the filtrate.

If the first runnings are compared with the beaker containing the rest of the filtrate, it will be evident that the first runnings are cloudy due to the presence of fine pumice particles. It takes a short while for the pumice to coat the filter paper. (10)

Signature of instructor:

- EXERCISE 2: Vacuum Filtration without pre-coating the filter paper

Collect ± 100 ml of concentrated raw sugar solution that has been prepared by your Training Officer, add a spatula of pumice powder and stir the mixture.

Filter the mixture using vacuum filtration. The aim is to recover the filtrate.

You will notice that filtration is relatively slow due to the presence of impurities in suspension that tend to blind the pores of the filter paper.

These impurities are colloidal i.e. neither dissolved nor completely soluble. We use Celite 577 as a filter aid because the colloidal matter is retained in the mat of filtrate aid. (10)

Signature of instructor:

- EXERCISE 3: Vacuum Filter using pre-coating of the filter paper.

Assemble the apparatus for a vacuum filtration. Collect a raw sugar solution containing some talcum powder in suspension and also collect a beaker with some pumice powder.

Precoat the filter paper with pumice under low vacuum and then filter the sugar solution. The aim is to recover the residue.

You will notice that filtration is faster than in Exercise 2. (10)

Signature of instructor:

Knowledge Topic 10: Drying (10%)

Topic elements to be covered include:

- KT1001 Equipment

- KT1002 Method

- KT1003 Calculations

Internal Assessment Criteria and Weight

- IAC1001 The purpose of drying can be explained.

- Weight 10%

Learning activity 10: Individual Learning activity: 3 hours (40 marks)

Learning Objective: Understand and use drying techniques.

Task: Read the following questions carefully, implement the instructions and write your answers in the spaces provided or request the instructor to sign that you have performed the task satisfactorily.

Instructions

- Name 5 instances where the moisture % of a substance is used. (5)

- Moisture % cane is used in the DAC calculations for cane payment. - Moisture % bagasse is used to measure the efficiency of the dewatering process i.e. how well the mills are working. - Moisture % filter cake is used as a guide to the efficiency of the rotary vacuum filters. - Moisture % sugar is used as a measure of the efficiency of the sugar dryer. - Dry solids % molasses is an alternative method of measuring the total soluble solids content of molasses and is more accurate than the refractometer brix determination.

- Describe the working of a Spencer oven. (5)

In a Spencer type oven a fan blows hot air from the top through the sample which is placed in a tray. The tray has a screen at the bottom which allows the hot moist air to pass through. The Spencer oven is used for prepared cane or bagasse.

- Describe the procedure to be followed when using a moisture oven. (10)

- Weigh the clean and dry moisture dish and lid to the accuracy required by the particular analysis. - Add the amount of sample required. - Replace the lid immediately and reweigh the moisture dish containing the sample. - Place the dish in the oven. Remove the lid, invert the lid and place the moisture dish inside the lid. - Dry for 3 hours as required at 105˚C (sugar) or 4 hours at 130˚C (filter cake) - Using tongs replace the lid on the dish and remove from the oven. - Place in a desiccator and allow to cool to ambient temperature for 1 hour. - Weigh the dish, lid and dry sample to the precision required.

- EXERCISE 1: Determine the moisture % of a 10g sample of silica gel by drying in an oven at 105˚C for 1 hour. Use an electronic top pan balance to determine the mass to two decimal places. (10)

Write your answer here:

Signature of instructor:

- EXERCISE 2: Determine the moisture % of a 2g sample of Celite by drying in an oven at 105˚C for 1 hour. Use an analytical balance to determine the mass to 4 decimal places. (10)

Write your answer here:

Signature of instructor:

Knowledge Topic 11: Preparation of solutions and concentration calculations (10%)

Topic elements to be covered include:

- KT1101 Standard Solutions

- KT1102 Reagent Solutions

- KT1103 Preparation

- KT1104 Concentration and Dilution

- KT1105 Storage

Internal Assessment Criteria and Weight

- IAC1101 An understanding of the use of standard solutions can be demonstrated.

- Weight 10%

Learning activity 11: Individual Learning activity: 8 hours (207 marks)

Learning Objective: Accurately prepare standard solutions and perform calculations relevant to standard solutions.

Task: Read the following questions carefully, implement the instructions and write your answers in the spaces provided or request the instructor to sign that you have performed the task satisfactorily.

Instructions

- EXERCISE 1: Collect a 50 ml beaker with some sugar. Transfer this sugar quantitatively to a second 250 ml beaker and make to the 250ml mark with water. Concentrate on all the steps necessary to ensure that all of the sugar is transferred to the beaker.

Some important points to remember are:

- The top 50 ml beaker must remain in contact with the bottom 250 ml beaker.

- Ensure that all the wash water runs into the 250 ml beaker.

- Also wash the outside of the spout of the top 50 ml beaker.

- If a glass rod is used to stir and dissolve the sugar in the 250 ml beaker, the glass rod must also be washed off into the beaker before the level is made up to the 250 ml mark.

Repeat this exercise twice. (10)

Signature of instructor:

- EXERCISE 2: Collect 1 50 ml beaker containing sugar solution from your instructor. Using a pipette quantitatively transfer 25 ml of sugar solution into a 250 ml volumetric flask and make to the mark. (10)

Signature of instructor:

- EXERCISE 3: Your instructor will prepare a solution of methylene blue. Collect ±40 ml of the blue solution in a 50 ml beaker. Quantitatively transfer a 10 ml aliquot of blue solution into a 100 ml volumetric flask and make to the mark.

To compare your accuracy with the other students, read the absorbance of the solution prepared in the volumetric flask in a spectrophotometer at 570 mm and record the reading.

Method of using the spectrophotometer:

- Select the required wavelength using the relevant knob.

- With the sample tube filled with water adjust the absorbance to zero.

- Rinse the sample tube three times with some solution.

- Fill the sample tube with solution, dry the outside and read the absorbance.

Write your answer here:

- The absorbencies of all of the students should be the same. Variations are due to errors during preparation of the solution. Repeat this exercise. (10)

Signature of instructor:

- EXERCISE 4: Your instructor will prepare a 1 M sodium hydroxide solution by dissolving 40g of NaOH in 1000 ml water (Solution A). Your instructor will also prepare a 0.1 M hydrochloric acid solution by dissolving 8.9 ml concentrated HCI in 1000 ml of water (Solution B). (10)

- Pipette 25 ml of Solution A into a 250 ml volumetric flask and make to the mark. Label this solution C.

- Fill a burette with solution B.

- Take a 10 ml aliquot of solution C and titrate with solution B using phenolphthalein as indicator. The end point is pale pink.

- Take 10 ml aliquot of solution C and titrate with solution B using methyl orange as indicator. The end point is peach pink.

- Repeat the exercise until solutions C and B have been exhausted.

Signature of instructor:

- Find the percentage composition of the following sucrose solutions. (10)

| - 7 g sucrose placed in 93 g water |  |
| --- | --- |
| - 20 g sucrose placed in 80 g water |  |
| - 25 g sucrose placed in 125 g water |  |
| - 43 g sucrose placed in 152 g water |  |
| - 57 g sucrose placed in 193 g water |  |
| - 62 g sucrose contained in 158 g sucrose solution |  |
| - 95 g sucrose contained in 175 g sucrose solution |  |
| - 225 g sucrose contained in 330 g sucrose solution |  |
| - 310 g sucrose contained in 390 g sucrose solution |  |
| - 450 g sucrose contained in 770 g sucrose solution |  |

- Find the mass of sucrose in the following sucrose solutions: (10)

| - 50 g of a 20% sucrose solution |  |
| --- | --- |
| - 75 g of a 15% sucrose solution |  |
| - 100 g of a 35% sucrose solution |  |
| - 225 g of a 25% sucrose solution |  |
| - 300 g of a 50% sucrose solution |  |
| - 88 g of a 22% sucrose solution |  |
| - 170 g of a 30% sucrose solution |  |
| - 150 g of a 80% sucrose solution |  |
| - 200 g of a 38% sucrose solution |  |
| - 350 g of a 70% sucrose solution |  |

- Find the mass of the following solutions: (10)

| - 5% sucrose solution containing 10 g sucrose |  |
| --- | --- |
| - 10% sucrose solution containing 40 g sucrose |  |
| - 17% sucrose solution containing 85 g sucrose |  |
| - 25% sucrose solution containing 15 g sucrose |  |
| - 33% sucrose solution containing 11 g sucrose |  |
| - 45% sucrose solution containing 30 g sucrose |  |
| - 65% sucrose solution containing 130 g sucrose |  |
| - 77% sucrose solution containing 38,5 g sucrose |  |
| - 87% sucrose solution containing 29 g sucrose |  |
| - 93% sucrose solution containing 40 g sucrose |  |

- Calculate the following concentrations: (10)

| - Calculate the concentration in g/l of a solution containing 12 g solute in 2 l of solution |  |
| --- | --- |
| - Calculate the concentration in g/l of a solution containing 72 g solute in 120 cm3 of solution |  |
| - Calculate the concentration in g/l of a solution containing 35 g solute in 250 cm3 of solution |  |
| - Calculate the concentration in g/l of a solution containing 125 g solute in 50 ml of solution |  |
| - Calculate the concentration in g/l of a solution containing 225 g solute in 400 ml of solution |  |
| - Calculate the concentration in g/l of a solution containing 47 g solute in 85 ml of solution |  |
| - Calculate the concentration in g/l of a solution containing 163 g solute in 50 ml of solution |  |
| - Calculate the concentration in mg/ml of a solution containing 85 mg solute in 20 ml of solution |  |
| - Calculate the concentration in mg/ml of a solution containing 222 g solute in 11 ml of solution |  |
| - Calculate the concentration in g/l of a solution containing 0,02 g solute in 100 ml of solution |  |

- Calculate the following volumes: (11)

| - Calculate the volume of the solution required to give a concentration of 175 g/l using 25 g of solute. |  |
| --- | --- |
| - Calculate the volume of the solution required to give a concentration of 80 g/l using 60 g of solute. |  |
| - Calculate the volume of the solution required to give a concentration of 45 g/l using 125 g of solute. |  |
| - Calculate the volume of the solution required to give a concentration of 10 g/l using 2,5 g of solute. |  |
| - Calculate the volume of the solution required to give a concentration of 100 g/l using 20 g of solute. |  |
| - Calculate the volume of the solution required to give a concentration of 35 g/l using 140 g of solute |  |
| - Calculate the volume of the solution required to give a concentration of 12 g/l using 48 g of solute. |  |
| - Calculate the volume of the solution required to give a concentration of 36 g/l using 9 g of solute. |  |
| - Calculate the volume of the solution required to give a concentration of 56 g/l using 7 g of solute. |  |
| - Calculate the volume of the solution required to give a concentration of 330 g/l using 15 g of solute. |  |
| - Calculate the volume of the solution required to give a concentration of 136 g/l using 12 g of solute. |  |

- Calculate the following quantities: (10)

| - Calculate the quantity of sugar that must be placed in a 200 ml volumetric flask to give a concentration of 5 g/l (grams per litre). |  |
| --- | --- |
| - Calculate the quantity of sugar that must be placed in a 100 ml volumetric flask to give a concentration of 15 g/l (grams per litre). |  |
| - Calculate the quantity of sugar that must be placed in a 100 ml volumetric flask to give a concentration of 30 g/l (gram per litre). |  |
| - Calculate the quantity of sugar that must be placed in a 200 ml volumetric flask to give a concentration of 150 g/l (grams per litre) |  |
| - Calculate the quantity of sugar that must be placed in a 200 ml volumetric flask to give a concentration of 50 g/l (grams per litre). |  |
| - Calculate the quantity of sugar that must be placed in a 250 ml volumetric flask to give a concentration of 75 g/l (grams per litre) |  |
| - Calculate the quantity of sugar that must be placed in a 100 ml volumetric flask to give a concentration of 250 mg/ml. |  |
| - Calculate the quantity of sugar that must be placed in a 200 ml volumetric flask to give a concentration of 350 mg/ml. |  |
| - Calculate the quantity of sugar that must be placed in a 250 ml volumetric flask to give a concentration of 20 g/l (grams per litre). |  |
| - Calculate the quantity of sugar that must be placed in a 500 ml volumetric flask to give a concentration of 100 mg/ml. |  |

- Express the following solutions as parts of solute per million parts of solution (ppm): (10)

| - 30 mg of sugar in 300 g of water. |  |
| --- | --- |
| - 0.07 g of sugar in 72 g of water. |  |
| - 25 mg of sugar in 500 g of water. |  |
| - 0.008 g sugar in 250 g of water. |  |
| - 18 mg of sugar in 0.2 kg of water. |  |
| - 0.375 g of sugar in 125 000 mg of water. |  |
| - 2.7 g of sugar in 9 kg of water. |  |
| - 160 mg of sugar in 80 ml of water. |  |
| - 45 g of sugar in 900 l of water. |  |
| - 77.7 g of sugar in 100 from 100 l of water. |  |

- Calculate the following volumes: (10)

| - Calculate the volume (aliquot) that must be taken from 250 g/l standard solution and made up to 100 ml to give a new solution of concentration 150 g/l. |  |
| --- | --- |
| - Calculate the volume (aliquot) that must be taken from a 50 g/l standard solution and made up to 100 ml to give a new solution of concentration 10 g/l. |  |
| - Calculate the volume (aliquot) that must be taken from a 100 g/l standard solution and made up to 250 ml to give a new solution of concentration 15 g/l. |  |
| - Calculate the volume (aliquot) that must be taken from a 150 g/l standard solution and made up to 300 ml to give a new solution of concentration 40 g/l. |  |
| - Calculate the volume (aliquot) that must be taken from a 75 g/l standard solution and made up to 150 ml to give a new solution of concentration 50 g/l. |  |
| - Calculate the volume (aliquot) that must be taken from 1 20 g/l standard solution and made up to a 50 ml to give a new solution of concentration 5 g/l. |  |
| - Calculate the volume (aliquot) that must be taken from a 200 g/l standard solution and made up to 150 ml to give a new solution of concentration 75 g/l. |  |
| - Calculate the volume (aliquot) that must be taken from a 300 g/l standard solution and made up to 150 ml to give a new solution of concentration 80 g/l. |  |
| - Calculate the volume (aliquot) that must be taken from a 350 g/l standard solution and made up to 200 ml to give a new solution of concentration 100 g/l. |  |
| - Calculate the volume (aliquot) that must be taken from a 400 g/l standard solution and made up to 500 ml to give a new solution of concentration 35 g/l. |  |

- Calculate the following masses: (7)

| - 15 g of sugar is dissolved in 50 ml of water in a volumetric flask. 20 ml of the solution is pipetted out into a 50 ml volumetric flask and made to the mark. 10 ml of this solution is pipetted into an evaporating dish and evaporated to dryness. What mass of dry sugar will be obtained? |  |
| --- | --- |
| - 50 g of sugar is dissolved in 100 ml of water in a volumetric flask. 20 ml of the solution is pipetted out into a 100 ml volumetric flask and made to the mark. 25 ml of this solution is pipetted into an evaporating dish and evaporated to dryness. What mass of dry sugar will be obtained? |  |
| - 50 g of sugar is dissolved in 200 ml of water in a volumetric flask. 25 ml of the solution is pipetted out into a 250 ml volumetric flask and made to the mark. 50 ml of this solution is pipetted into an evaporating dish and evaporated to dryness. What mass of dry sugar will be obtained? |  |
| - 80 g of sugar is dissolved in 250 ml of water in a volumetric flask. 25 ml of the solution is pipetted out into a 200 ml volumetric flask and made to the mark. 50 ml of this solution is pipetted into an evaporating dish and evaporated to dryness. What mass of dry sugar will be obtained? |  |
| - 160 g of sugar is dissolved in 500 ml of water in volumetric flask. 25 ml of the solution is pipetted out into a 100 ml volumetric flask and made to the mark. 25 ml of this solution is pipetted into an evaporating dish and evaporated to dryness. What mass of dry sugar will be obtained? |  |
| - 220 g sugar is dissolved in 500 ml of water in a volumetric flask. 25 ml of the solution is pipetted out into a 250 ml volumetric flask and made to the mark. 50 ml of this solution is pipetted into an evaporating dish and evaporated to dryness. What mass of dry sugar will be obtained? |  |
| - 400 g of sugar is dissolved in 700 ml of water in a volumetric flask. 25 ml of the solution is pipetted out into a 250 ml volumetric flask and made to the mark. 50 ml of this solution is pipetted into an evaporating dish and evaporated to dryness. What mass of dry sugar will be obtained? |  |

- Calculate the following masses: (7)

| - A quantity of sugar is dissolved in 100 ml of water in volumetric flask. 10 ml of the solution is pipetted out into a 100 ml volumetric flask and made to the mark. 20 ml of this solution is pipetted into an evaporating dish and evaporated to dryness giving 0,6 grams of sugar. What mass of sugar was initially placed into the 100 ml volumetric flask? |  |
| --- | --- |
| - A quantity of sugar is dissolved in 100 ml of water in a volumetric flask. 20 ml of the solution is pipetted out into 200 ml volumetric flask and made to the mark. 20 ml of this solution is pipetted into an evaporating dish and evaporated to dryness giving 1,4 grams of sugar. What mass of sugar was initially placed into the 100 ml volumetric flask? |  |
| - A quantity of sugar is dissolved in 200 ml of water in a volumetric flask. 25 ml of the solution is pipetted out into a 100 ml volumetric flask and made to the mark. 20 ml of this solution is pipetted into an evaporating dish and evaporated to dryness giving 1.5 grams of sugar. What mass of sugar was initially placed into the 200 ml volumetric flask? |  |
| - A quantity of sugar is dissolved in 200 ml of water in a volumetric flask. 25 ml of the solution is pipetted out into a 200 ml volumetric flask and made to the mark. 20 ml of this solution is pipetted into an evaporating dish and evaporated to dryness giving 0,375 grams of sugar. What mass of sugar was initially placed into the 200 ml volumetric flask? |  |
| - A quantity of sugar is dissolved in 250 ml of water in a volumetric flask. 20 ml of the solution is pipetted out into 100 ml volumetric flask and made to the mark. 25 ml of this solution is pipetted into an evaporating dish and evaporated to dryness giving 0,5 grams of sugar. What mass of sugar was initially placed into the 250 ml volumetric flask? |  |
| - A quantity of sugar is dissolved in 250 ml of water in a volumetric flask. 10 ml of the solution is pipetted out into a 200 ml volumetric flask and made to the mark. 25 ml of this solution is pipetted into an evaporating dish and evaporated to dryness giving 0,375 grams of sugar. What mass of sugar was initially placed into the 250 ml volumetric flask? |  |
| - A quantity of sugar is dissolved in 500 ml of water in a volumetric flask. 50 ml of the solution is pipetted out into a 100 ml volumetric flask and made to the mark. 25 ml of this solution is pipetted into an evaporating dish and evaporated to dryness giving 4 grams of sugar. What mass of sugar was initially placed into the 500 ml volumetric flask? |  |

- Calculate the following quantities: (10)

| - For a particular analysis a solution of 5 ml of concentrated HCl in a 250 ml volumetric flask is required. However you wish to prepare 100 ml of solution. What quantity of concentrated HCl would you place in the 100 ml flask? |  |
| --- | --- |
| - For a particular analysis a solution of 10 ml of concentrated HCl in a 500 ml volumetric flask is required. However you wish to prepare 200 ml of solution. What quantity of concentrated HCl would you place in the 200 ml flask? |  |
| - For a particular analysis a solution of 5 ml of concentrated HCl in a 200 ml volumetric flask is required. However you wish to prepare 250 ml of solution. What quantity of concentrated HCl would you place in the 250 ml flask? |  |
| - For a particular analysis a solution of 20 ml of concentrated HCl in a 100 ml volumetric flask is required. However you wish to prepare 250 ml of solution. What quantity of concentrated HCl would you place in the 250 ml flask? |  |
| - For a particular analysis a solution of 7 ml of concentrated HCl in a 250 ml volumetric flask is required. However you wish to prepare 100 ml of solution. What quantity of concentrated HCl would you place in the 100 ml flask? |  |
| - For a particular analysis a solution of 1,5 g of NaOH in a 100 ml volumetric flask is required. However you wish to prepare 250 ml of solution. What quantity of NaOH would you place in the 250 ml flask? |  |
| - For a particular analysis a solution of 17 g of NaOH in a 250 ml volumetric flask is required. However you wish to prepare 100 ml of solution. What quantity of NaOH would you place in the 100 100 ml flask? |  |
| - For a particular analysis a solution of 9 g of NaOH in a 500 ml volumetric flask is required. However you wish to prepare 200 ml of solution. What quantity of NaOH would you place in the 200 ml flask? |  |
| - For a particular analysis a solution of 25 g of NaOH in a 250 ml volumetric flask is required. However you wish to prepare 1000 ml of solution. What quantity of NaOH would you place in the 1000 ml flask? |  |
| - For a particular analysis a solution of 50 g of NaOH in a 1 000 ml volumetric flask is required. However you wish to prepare 200 ml of solution. What quantity of NaOH would you place in the 200 ml flask? |  |

- Calculate the following: (26)

- An 800 ml sample of mixed juice must be divided into 3 portions in the ratio 2:3:5 for analysis purposes. What volume will each portion be?

800ml / 2:3:5 2+3+5= 10 800ml/ 10=80 2=160 ml(80x2) 3= 240 ml (80x3) 5=400 ml (80x5) 160ml+240ml+400ml=800ml

- A 750 g sample of molasses must be divided into 3 portions in the ratio 3:5:7 for analysis purposes. What mass will each portion be?

750g / 3:5:7 3+5+7=15 750g/ 15=50 3=150g(50x3) 5= 250g (50x5) 7=350g (50x7) 150g+250g+350g=750g

- A 300 g sample of VHP sugar must be divided in the ration 3:7. What mass will each portion be?

300g/3:7 3+7=10 300g/10=30 3=90g(30x3) 7=210g (30x7) 90g+210g=300g

- A quantity of sugar is dissolved in 250 ml of water in a volumetric flask. 20 ml of this solution is pipetted into a 200 ml volumetric flask and made to the mark. 50 ml of this solution is pipetted into an evaporating basin and evaporated to dryness, yielding 0.25 g of sugar.

- What mass of sugar was transferred in the 50 ml pipette?

- What mass of sugar was in the 200 ml volumetric flask?

- What mass of sugar was transferred in the 20 ml pipette?

- What mass of sugar was in the 250 ml of water?

- A 55 g of sugar is dissolved with water and made up to 200 ml in volumetric flask. 25 ml of the solution is pipetted into a 100 ml volumetric flask and made to the mark. 20 ml of this solution is pipetted into an evaporating basin and evaporated to dryness.

- What amount of sugar should be obtained?

However only 1.2 g of sugar is recovered.

- Explain the possible reasons why the recovery is not 100 %.

- For a particular analysis a solution of 12 g of NaOH in a 500 ml volumetric flask is required. However, you wish to prepare 200 ml of solution. What quantity of NaOH would you place in the 100 ml flask?

- For a particular analysis the method stipulates that 70 g of sugar must be dissolved in 300 ml of water. However only 30 g of a sugar sample is available. In what quantity of water would you dissolve the 30 g of sugar to give the required concentration?

- In a titration 14 ml of HCl solution neutralised 20 ml of NaOH solution. What volume of HCl would be required to neutralise 50 ml of NaOH solution?

- Express the following concentrations in parts per million (ppm)

| - 12 g of sugar in 5 kg of water |  |
| --- | --- |
| - 475 mg of sugar in 750 g of water |  |
| - 0.0026 g of sugar in 130 g of water |  |
| - 0.00015 kg of sugar in 900 000 mg |  |

- What quantity of sugar must be placed in 250 ml volumetric flask to give a concentration of 45 g/l?

- What quantity of sugar must be placed in a 200 ml volumetric flask to give a concentration of 17 mg/ml?

- How would you prepare a 120 ppm sugar solution?

- Express a concentration of 90 ppm in

| - g/l |  |
| --- | --- |
| - mg/ml |  |

- 20 g of sugar is dissolved in a 250 ml volumetric flask.

- What is the concentration of the solution in g/ml?

- What volume of water must be added to the solution to change its concentration to 0.02 g/ml?

- Calculate the mass of sugar needed to prepare the following: (10)

| - 1 ml of a solution with a density of 1.30 g/ml |  |
| --- | --- |
| - 25 ml of a solution with a density of 1.15 g/ml |  |
| - 30 ml of a solution with a density of 1.22 g/ml |  |
| - 55 ml of a solution with a density of 1.25 g/ml |  |
| - 72 ml of a solution with a density of 1.37 g/ml |  |
| - 91 ml of a solution with a density of 1.11 g/ml |  |
| - 117 ml of a solution with a density of 1.4 g/ml |  |
| - 230 ml of a solution with a density of 1.2 g/ml |  |
| - 800 ml of a solution with a density of 1.37 g/ml |  |
| - 1500 ml of a solution with a density of 1.33 g/ml |  |

- Calculate the volume of a sugar solution if it …. : (10)

| - Contains 17 g of sugar and has a density of 1.34 g/ml |  |
| --- | --- |
| - Contains 34 g of sugar and has a density of 1.15 g/ml |  |
| - Contains 55 g of sugar and has a density of 1.28 g/ml |  |
| - Contains 71 g of sugar and has a density of 1.4 g/ml |  |
| - Contains 29 g of sugar and has a density of 1.33 g/ml |  |
| - Contains 93 g of sugar and has a density of 1.34 g/ml |  |
| - Contains 114 g of sugar and has a density of 1.21 g/ml |  |
| - Contains 209 g of sugar and has a density of 1.17 g/ml |  |
| - Contains 300 g of sugar and has a density of 1.09 g/ml |  |
| - Contains 162 g of sugar and has a density of 1.22 g/ml |  |

- Convert the following % dissolved substances to concentrations in grams/litre of solution (Use the table in the Appendix of your Learning Resource) (8)

| - 5% |  |
| --- | --- |
| - 12% |  |
| - 17% |  |
| - 28% |  |
| - 37% |  |
| - 43% |  |
| - 62% |  |
| - 73% |  |
| - 88% |  |
| - 92% |  |

- Convert the following concentration in g/l to a % sucrose (Use the table in the Appendix of your Learning Resource) (8)

| - 20.12 g/l |  |
| --- | --- |
| - 35.42 g/l |  |
| - 109.22 g/l |  |
| - 129.97 g/l |  |
| - 229.12 g/l |  |
| - 264.96 g/l |  |
| - 358.55 g/l |  |
| - 506.90 g/l |  |
| - 629.89 g/l |  |
| - 833.35 g/l |  |

Knowledge Topic 12: Sampling (10%)

Topic elements to be covered include:

- KT1201 Composite sampling

- KT1202 Continuous sampling

- KT1203 Catch sampling

- KT1204 Sampling containers

- KT1205 Procedures

Internal Assessment Criteria and Weight

- IAC1201 An understanding of the sampling techniques can be demonstrated.

- IAC1202 The purpose of sampling and importance of accurate sampling can be explained.

- Weight 10%

Learning activity 12: Individual Learning activity: 30 minutes (10 marks)

Learning Objective: Demonstrate an understanding of the importance and purpose of sampling and the correct sampling technique.

Task: Read the following questions carefully, implement the instructions and write your answers in the spaces provided or request the instructor to sign that you have performed the task satisfactorily.

Instructions

- Explain the term “continuous sampling” and state when it is used. (3)

Continuous sampling is necessary where great accuracy is required e.g. cane (DAC), mixed juice, sugar and final molasses. The sample should be in proportion to the quantity produced during a specific period.

- Explain the term “catch sampling” and state when it is used. (3)

Where great accuracy is not required, catch samples taken at fairly large time intervals or as required are adequate. These are the samples required for routine quality control i.e. brix, pol and pH. Catch sampling is also practiced when there is the possibility that a continuous sample will deteriorate during the sampling period.

- Name 4 important precautions to be taken regarding sampling when using a mechanical grab sampler. (4)

Position the grab sampler next to the cane carrier and before the first cane knives in a place which permits sampling of all delivered cane.

The frequency of sampling will depend on local conditions and requirements.

Ensure that a full grab load is taken.

Deposit the whole sample in the stretcher taking care to return any spillage to the stretcher.

# CONCLUSION OF KNOWLEDGE MODULE 1: INTRODUCTION TO SUGAR PROCESSING LABORATORY WORK

Throughout this knowledge module you have been provided opportunities to complete formative learning activities. You have captured your results in this Learner Workbook.

The total marks for this Knowledge Module are as follows:

| Knowledge Module | Total Marks | Marks attained |
| --- | --- | --- |
| KM-01-KT01: Laboratory apparatus and equipment and their uses (10%) | 60 marks |  |
| KM-01-KT02: Specific laboratory techniques (5%) | 80 marks |  |
| KM-01-KT03: Arithmetical calculations (10%) | 400 marks |  |
| KM-01-KT04: Draw and interpret graphs (10%) | 70 marks |  |
| KM-01-KT05: Units of measurement (10%) | 32 marks |  |
| KM-01-KT06: Use of a balance (5%) | 42 marks |  |
| KM-01-KT07: Use flasks, measuring cylinders and pipettes (5%) | 40 marks |  |
| KM-01-KT08: Burettes and titration (5%) | 45 marks |  |
| KM-01-KT09: Filtration techniques (10%) | 65 marks |  |
| KM-01-KT010: Drying (10%) | 40 marks |  |
| KM-01-KT11: Preparation of solutions and concentration calculations (10%) | 207 marks |  |
| KM-01-KT12: Sampling (10%) | 10 marks |  |
| Total Marks | 1091 marks |  |

# SUMMATIVE ASSESSMENT ACTIVITIES AND MODEL ANSWERS

The learner is now required to complete the Summative Assessment.

Facilitator instructions:

Once the facilitation of this Knowledge Module is completed:

- The Summative Assessment Guide is then handed to each learner and the Summative Assessment is done (4 hours)

- Tally the total marks and complete the Summative Assessment Guide of each learner.

- Hand out each Summative Assessment Guide for final learner feedback and signing.

- Prepare certificates for the programme as required.

# WRITTEN ASSESSMENT

Candidate instruction: Complete the following multiple-choice questionnaire by marking the most appropriate response with an x in the space provided.

| Scope of Assessment |  |  | Exit Level Outcome/s | Module/s |  |
| --- | --- | --- | --- | --- | --- |
|  |  |  | - Laboratory Apparatus, Equipment and Techniques | 1 |  |
| Alignment – Learning Outcome 1,2&3: Laboratory Apparatus, Equipment and Techniques |  |  |  |  |  |
| Award one mark for selection of valid “x”. One mark = Competent |  |  |  |  |  |
| 1.1 | The difference between a Burette and a Bulb Pipette is; |  |  |  | Mark Allocation |  |
| a. |  | A Pipette is used for non-toxic liquids and a Burette is used for toxic liquids. |  |  |  |  |
| b. |  | A Pipette will dose a constant amount of liquid and a Burette will dose a variable amount. |  |  |  |  |
| c. |  | A Pipette is accurate in variable temperature conditions, a Burette is only accurate at 20 oC. |  |  |  |  |
| d. |  | A Burette must be filled to the maximum amount indicated, whereas a Pipette needs only to be filled to the top of the bulb. |  |  |  |  |
| e. |  | There is no difference between the two, aside from the application for various tests. |  |  | 2 |  |

| 1.2 | A Beaker; |  |  | Mark Allocation |  |
| --- | --- | --- | --- | --- | --- |
| a. |  | Is used for mixing liquids and solids. |  |  |
| b. |  | Can be used for boiling solutions. |  |  |
| c. |  | Has an approximate volume marking. |  |  |
| d. |  | Used for the collection of filtrate. |  |  |
| e. |  | All the above. | 2 |  |

| 1.3 | A Bunsen Burner uses the following gas for heat. |  | Mark Allocation |
| --- | --- | --- | --- |
| a. |  | Oxygen. |  |
| b. |  | LPG. |  |
| c. |  | Acetylene. |  |
| d. |  | Air. |  |
| e. |  | A mixture of LPG and air. | 2 |

| 1.4 | The glassware used extensively for titrations is called; |  | Mark Allocation |
| --- | --- | --- | --- |
| a. |  | A Kohlrausch Flask. |  |
| b. |  | Filter Flask. |  |
| c. |  | Titration Flask. |  |
| d. |  | Erlenmeyer Flask. |  |
| e. |  | None of the above. | 2 |

| 1.5 | A Crucible is used for; |  | Mark Allocation |
| --- | --- | --- | --- |
| a. |  | Collecting filtrate from a sample. |  |
| b. |  | Titrations. |  |
| c. |  | Sugar pol determinations. |  |
| d. |  | Grinding chemicals into smaller pieces. |  |
| e. |  | None of the above. | 2 |

| 1.6 | The main feature of a Kohlrausch Flask is; |  | Mark Allocation |
| --- | --- | --- | --- |
| a. |  | The wide neck opening. |  |
| b. |  | The accurate graduations. |  |
| c. |  | The thicker glass. |  |
| d. |  | The offtake for a vacuum connection. |  |
| e. |  | The narrow neck opening. | 2 |

| 1.7 | A Buchner Funnel is used for; |  | Mark Allocation |
| --- | --- | --- | --- |
| a. |  | Holding filter paper in its conical shape for gravity filtrations. |  |
| b. |  | Filling a Buchner. |  |
| c. |  | Filling a Pipette. |  |
| d. |  | Holding filter paper for filtrations under a vacuum. |  |
| e. |  | Filling a Burette. | 2 |

| 1.8 | The apparatus used to condense vapour into a liquid is called; |  | Mark Allocation |
| --- | --- | --- | --- |
| a. |  | A Still Condenser. |  |
| b. |  | A Riffle Condenser. |  |
| c. |  | A Reflux Condenser. |  |
| d. |  | A Moisture Condenser. |  |
| e. |  | A Bosshead Condenser. | 2 |

| 1.9 | The function of a Desiccator is; |  | Mark Allocation |
| --- | --- | --- | --- |
| a. |  | Provide heat to keep a sample from absorbing moisture. |  |
| b. |  | Measuring the light absorbed by a sample |  |
| c. |  | Keeping a sample from absorbing moisture from the atmosphere. |  |
| d. |  | Keep the operator safe from toxic gasses. |  |
| e. |  | Can withstand the application of heat. | 2 |

| 1.10 | The principle operation of a Saccharimeter is the use of; |  | Mark Allocation |
| --- | --- | --- | --- |
| a. |  | Light. |  |
| b. |  | Heat. |  |
| c. |  | Absorption. |  |
| d. |  | Polarised Light |  |
| e. |  | Infra-red Light. | 2 |

| 1.11 | What equipment is used to measure the amount of inorganic material dissolved in a solution? |  | Mark Allocation |
| --- | --- | --- | --- |
| a. |  | A pH meter. |  |
| b. |  | A Still. |  |
| c. |  | A Polarimeter. |  |
| d. |  | A Spectrophotometer. |  |
| e. |  | A Conductivity meter. | 2 |

| 1.12 | What is the purpose of a Muffle Furnace? |  | Mark Allocation |
| --- | --- | --- | --- |
| a. |  | Can heat sufficiently to boil sugar solutions. |  |
| b. |  | Used to extract smoke and fumes from various products. |  |
| c. |  | To reduce samples for ash measurement. |  |
| d. |  | To dry samples for moisture analysis. |  |
| e. |  | All the above. | 2 |

| 1.13 | A Refractometer is used for the direct measurement of; |  | Mark Allocation |
| --- | --- | --- | --- |
| a. |  | Brix. |  |
| b. |  | Sucrose. |  |
| c. |  | Moisture. |  |
| d. |  | Ash |  |
| e. |  | pH. | 2 |

| 1.14 | The Spectrophotometer can measure the following; |  | Mark Allocation |
| --- | --- | --- | --- |
| a. |  | Sugar colour. |  |
| b. |  | Starch. |  |
| c. |  | Sugar traces. |  |
| d. |  | Phosphate. |  |
| e. |  | All the above. | 2 |

| 1.15 | A Vacuum Oven; |  | Mark Allocation |
| --- | --- | --- | --- |
| a. |  | Is used to dry samples at temperatures higher than 100 oC. |  |
| b. |  | Can be used for Bagasse moisture analysis. |  |
| c. |  | Can be used for moisture analysis at temperatures below 100 oC. |  |
| d. |  | Is used to dry samples under pressure. |  |
| e. |  | None of the above. | 2 |

| 1.16 | The mill laboratory functions are; |  | Mark Allocation |
| --- | --- | --- | --- |
| a. |  | To control the sugar manufacturing process. |  |
| b. |  | To detect and indicate the extent of any losses. |  |
| c. |  | To supply accurate information for financial and administrative purposes. |  |
| d. |  | To supply analytical information for comparison with other mills |  |
| e. |  | All the above. | 2 |

| 1.17 | When sampling products, why is it critical to follow the laid down procedure? |  | Mark Allocation |
| --- | --- | --- | --- |
| a. |  | To avoid the possibility of analytical errors. |  |
| b. |  | To ensure that the analysis of the product is done correctly. |  |
| c. |  | To ensure that the sample is representative of the product. |  |
| d. |  | To give the laboratory analyst confidence. |  |
| e. |  | All the above. | 2 |

| 1.18 | The cleanliness of glassware can be checked by; |  | Mark Allocation |
| --- | --- | --- | --- |
| a. |  | Holding it up to the light and looking for marks. |  |
| b. |  | Smelling the glassware for chemical residue. |  |
| c. |  | Soaking the glassware in distilled water. |  |
| d. |  | None of the above. |  |
| e. |  | All the above (except d.). | 2 |

| 1.19 | Which statement correctly defines a meniscus? |  | Mark Allocation |
| --- | --- | --- | --- |
| a. |  | The shape that a liquid assumes on its surface. |  |
| b. |  | The angle of your eye to the line on the flask or vessel containing a liquid. |  |
| c. |  | The error of parallax. |  |
| d. |  | The vertical position of the vessel containing the liquid. |  |
| e. |  | The tangent. | 2 |

| 1.20 | At what temperature is most glassware accurately calibrated. |  | Mark Allocation |
| --- | --- | --- | --- |
| a. |  | 22 oC. |  |
| b. |  | Between 20 and 22 oC. |  |
| c. |  | Temperature is not important. |  |
| d. |  | 20 oC. |  |
| e. |  | Below 20 oC. | 2 |

| 1.21 | Why will temperature change the volume of a liquid in a volumetric flask? |  | Mark Allocation |
| --- | --- | --- | --- |
| a. |  | Heat transfer from your hands. |  |
| b. |  | Expansion or contraction of the glass/liquid due to temperature change. |  |
| c. |  | Evaporation. |  |
| d. |  | Temperature difference. |  |
| e. |  | Inaccurate meniscus. | 2 |

| 1.22 | Why is a watch glass required to cover the funnel while doing gravitational filtrations? |  | Mark Allocation |
| --- | --- | --- | --- |
| a. |  | To prevent evaporation, decreasing the value of the analyte. |  |
| b. |  | To prevent evaporation, ensuring the accuracy of the analysis. |  |
| c. |  | To ensure that air does not contaminate the sample. |  |
| d. |  | To prevent dilution, increasing the value of the analyte. |  |
| e. |  | All the above. | 2 |

| 1.23 | What is the purpose of glass beads? |  | Mark Allocation |
| --- | --- | --- | --- |
| a. |  | Used in the preparation of slurry. |  |
| b. |  | Act as a filtering agent when filtering under a vacuum. |  |
| c. |  | Required in a solution where rapid cooling takes place. |  |
| d. |  | Assists with the stirring of a solution. |  |
| e. |  | Used as an anti-bumping mechanism in a solution where rapid heating is required. | 2 |

| 1.24 | What happens to a sugar moisture sample that has been removed from an oven? |  | Mark Allocation |
| --- | --- | --- | --- |
| a. |  | If placed on a workbench will absorb moisture and give incorrect results. |  |
| b. |  | If placed in a Desiccator, will cool down without absorbing moisture and give correct results. |  |
| c. |  | If placed in a Desiccator with blue coloured Silica Gel, will cool down without absorbing moisture and give correct results. |  |
| d. |  | All the above. |  |
| e. |  | None of the above (excluding d.). | 2 |

| 1.25 | Why will there be a vacuum in a desiccator, when a hot sample has cooled. |  | Mark Allocation |
| --- | --- | --- | --- |
| a. |  | As the sample cools inside the sealed Desiccator the trapped air contracts. |  |
| b. |  | As the sample cools inside the sealed Desiccator the trapped air expands. |  |
| c. |  | There will be no vacuum created. |  |
| d. |  | There will be no vacuum if the Silica Gel is pink. |  |
| e. |  | None of the above. | 2 |

| 1.26 | Why is it important to accurately record the result of a test? |  | Mark Allocation |
| --- | --- | --- | --- |
| a. |  | To ensure that problems do not occur. |  |
| b. |  | To ensure that the test analysis was done correctly. |  |
| c. |  | To allow for the early detection of poor operations and/or malfunctioning equipment in the plant. |  |
| d. |  | To allow the shift supervisor/s a chance to query the result before making any change to the operation. |  |
| e. |  | All the above. | 2 |

| 1.27 | Where can a laboratory analyst find reference to sampling and analytical procedures? |  | Mark Allocation |
| --- | --- | --- | --- |
| a. |  | The Laboratory Manual. |  |
| b. |  | The shift supervisor. |  |
| c. |  | From the previous shift. |  |
| d. |  | Google. |  |
| e. |  | The Chemical Control Committee. | 2 |

| 1.28 | Why should a metal gauze mat be used in conjunction with a Bunsen Burner? |  | Mark Allocation |
| --- | --- | --- | --- |
| a. |  | To ensure that there is even heat distribution under the vessel. |  |
| b. |  | To ensure that there is no chance of a fire or explosion. |  |
| c. |  | To concentrate the heat from the flame into the centre of the vessel. |  |
| d. |  | To allow enough time for the contents being heated to evaporate. |  |
| e. |  | To heat the liquid in the vessel quicker. | 2 |

| 1.29 | If good housekeeping is maintained a laboratory will; |  | Mark Allocation |
| --- | --- | --- | --- |
| a. |  | Be a nice place to work. |  |
| b. |  | Reduce the risk of injuries and accidents. |  |
| c. |  | Minimise damage to equipment. |  |
| d. |  | All the above. |  |
| e. |  | None of the above (except d.). | 2 |

| 1.30 | When is it correct for a laboratory analyst to reject a test result? |  | Mark Allocation |
| --- | --- | --- | --- |
| a. |  | When the result is shown as out of spec. |  |
| b. |  | When the shift supervisor/s query the result. |  |
| c. |  | When the factory was stopped. |  |
| d. |  | Never. |  |
| e. |  | When the result seems wrong. | 2 |

Award one mark for selection of valid “T/F”.

| 1.31 | TRUE or FALSE: The following glassware can be used for precise and accurate measurement of liquids. |  | Mark Allocation |
| --- | --- | --- | --- |
| a. | ⓕ | Beaker. |  |
| b. | ⓣ | Measuring Cylinder. |  |
| c. | ⓣ | Burette. |  |
| d. | ⓣ | Bulb Pipette. |  |
| e. | ⓕ | Kohlrausch Flask. | 5 |
| 1.32 | TRUE or FALSE: The following are used for moisture determination. |  | Mark Allocation |
| a. | ⓕ | Bunsen Burner. |  |
| b. | ⓣ | Desiccator. |  |
| c. | ⓕ | Reflux Condenser. |  |
| d. | ⓕ | Fume Cupboard. |  |
| e. | ⓣ | Vacuum Oven. | 5 |

| 1.33 | TRUE or FALSE: The following are used for sugar pol analysis. |  | Mark Allocation |
| --- | --- | --- | --- |
| a. | ⓕ | Crucible. |  |
| b. | ⓣ | Volumetric Flask. |  |
| c. | ⓣ | Nickel Massing Basin. |  |
| d. | ⓣ | Analytical Balance. |  |
| e. | ⓕ | Refractometer. | 5 |
| 1.34 | TRUE or FALSE: The following are used to stir solutions. |  | Mark Allocation |
| a. | ⓕ | Spatula. |  |
| b. | ⓣ | Policeman. |  |
| c. | ⓕ | Thermometer. |  |
| d. | ⓣ | Magnetic Follower. |  |
| e. | ⓕ | Mortar & Pestle. | 5 |

| 1.35 | TRUE or FALSE: The following is used for Ash analysis: |  | Mark Allocation |
| --- | --- | --- | --- |
| a. | ⓣ | Muffle Furnace. |  |
| b. | ⓕ | Sieve Shaker. |  |
| c. | ⓕ | Spectrophotometer. |  |
| d. | ⓕ | pH Meter. |  |
| e. | ⓣ | Conductivity Meter. | 5 |
| 1.36 | TRUE or FALSE: The following is used for starch analysis |  | Mark Allocation |
| a. | ⓕ | Moisture Oven. |  |
| b. | ⓕ | Cold Digestor. |  |
| c. | ⓣ | Spectrophotometer. |  |
| d. | ⓕ | pH Meter. |  |
| e. | ⓕ | Conductivity Meter. | 5 |

| 1.37 | TRUE or FALSE: The purpose of a Distiller is to: |  |  | Mark Allocation |
| --- | --- | --- | --- | --- |
| a. | ⓕ | Make de-ionized water. |  |  |
| b. | ⓕ | Maintain a constant water temperature below 100 oC. |  |  |
| c. | ⓣ | Making distilled water. |  |  |
| d. | ⓕ | Evaporate samples to dryness. |  |  |
| e. | ⓕ | Not used in the laboratory. |  | 5 |
| 1.38 | TRUE or FALSE: What does a Spectrophotometer use to determine absorption? |  |  | Mark Allocation |
| a. | ⓣ |  | White light. |  |
| b. | ⓕ |  | Polarised light. |  |
| c. | ⓕ |  | Monochromatic light. |  |
| d. | ⓣ |  | Prism. |  |
| e. | ⓕ |  | Refraction. | 5 |
| 1.39 | TRUE or FALSE: Sampling bias is when: |  |  | Mark Allocation |
| a. | ⓣ | The sample is not representative of the product sampled. |  |  |
| b. | ⓕ | The sample has been well mixed before sub-sampling. |  |  |
| c. | ⓕ | The sample bucket or vessel is clean and dry. |  |  |
| d. | ⓣ | Taking a sub-sample from the top of a vessel without mixing. |  |  |
| e. | ⓕ | The sample has deteriorated. |  | 5 |

| 1.40 | TRUE or FALSE: Laboratory analysists must never do the following: |  | Mark Allocation |
| --- | --- | --- | --- |
| a. | ⓣ | Drink from a beaker or other laboratory glassware. |  |
| b. | ⓣ | Dispense chemicals like chlorine, ammonia and flammable liquids on the open workbench. |  |
| c. | ⓣ | When diluting, always add water to an acid or alkali. |  |
| d. | ⓣ | Eat without washing hands. |  |
| e. | ⓣ | Alter results. | 5 |

| 1.41 | TRUE or FALSE: Mill laboratory results are used for: |  | Mark Allocation |
| --- | --- | --- | --- |
| a. | ⓣ | Early warning of problems with process operations and/or equipment. |  |
| b. | ⓣ | Calculate factory balances and losses. |  |
| c. | ⓕ | Cane payment purposes. |  |
| d. | ⓕ | Not used in the factory. |  |
| e. | ⓣ | An indication of how the factory responds to changes in operation. | 5 |

| 1.42 | TRUE or FALSE: How is it possible for a volumetric flask, filled to the mark with water, to change the position of the Meniscus? |  | Mark Allocation |
| --- | --- | --- | --- |
| a. | ⓕ | By heating the volumetric flask, thereby contracting the flask and water. Meniscus is now below the mark. |  |
| b. | ⓕ | By cooling the volumetric flask, thereby expanding the flask and water. Meniscus is now above the mark. |  |
| c. | ⓣ | By heating the volumetric flask, thereby expanding the flask and water. Meniscus is now above the mark. |  |
| d. | ⓣ | By cooling the volumetric flask, thereby contracting the flask and water. Meniscus is now below the mark. |  |
| e. | ⓕ | There will be no change to the volume of the water whether it is heated or cooled. | 5 |

| Scope of Assessment |  |  | Exit Level Outcome/s | Module/s |
| --- | --- | --- | --- | --- |
|  |  |  | 3-5. Basic Arithmetic Calculations, Graphs and Units. | 1 |
| Alignment – Learning Outcome 3, 4&5: Basic Arithmetic Calculations, Graphs and Units. |  |  |  |  |
| Award one mark for selection of valid “x”. One mark = Competent |  |  |  |  |
| 1.43 | Choose the correct definition for a DIGIT |  |  | Mark Allocation |
| a. |  | An Operational sign. |  |  |
| b. |  | A Relationship sign. |  |  |
| c. |  | A Numeral. |  |  |
| d. |  | A Symbol. |  |  |
| e. |  | A Number. |  | 2 |

| 1.44 | How many symbols are there to represent a number? |  | Mark Allocation |
| --- | --- | --- | --- |
| a. |  | Infinity. |  |
| b. |  | 100 000. |  |
| c. |  | 10. |  |
| d. |  | 1 000 000. |  |
| e. |  | 0. | 2 |

| 1.45 | What is a Numeral? |  | Mark Allocation |
| --- | --- | --- | --- |
| a. |  | 2. |  |
| b. |  | 7. |  |
| c. |  | 27. |  |
| d. |  | None of the above. |  |
| e. |  | All the above (except d.). | 2 |

| 1.46 | What is the value of a digit in the 3rd position of a numeral, from the right? |  | Mark Allocation |
| --- | --- | --- | --- |
| a. |  | 1000. |  |
| b. |  | 1. |  |
| c. |  | 10000. |  |
| d. |  | 10. |  |
| e. |  | 100. | 2 |

| 1.47 | There are rules used for arithmetic calculations. What is the correct priority? |  | Mark Allocation |
| --- | --- | --- | --- |
| a. |  | Brackets, Of (multiply), Division, Multiplication, Addition, Subtraction. |  |
| b. |  | Brackets, Of (multiply), Multiplication, Division, Addition, Subtraction. |  |
| c. |  | Brackets, Of (multiply), Division, Multiplication, Subtraction, Addition. |  |
| d. |  | Brackets, Division, Of (multiply), Multiplication, Addition, Subtraction. |  |
| e. |  | Brackets, Multiplication, Of (multiply), Division, Addition, Subtraction. | 2 |

| 1.48 | In which order are digits in a numeral added? |  | Mark Allocation |
| --- | --- | --- | --- |
| a. |  | From right to left. |  |
| b. |  | Any order. |  |
| c. |  | Tens, units, hundreds, thousands. |  |
| d. |  | Thousands, hundreds, tens, units. |  |
| e. |  | None of the above | 2 |

| 1.49 | In which order are digits in a numeral subtracted? |  | Mark Allocation |
| --- | --- | --- | --- |
| a. |  | The same as addition. |  |
| b. |  | From right to left. |  |
| c. |  | Units, tens, hundreds, thousands. |  |
| d. |  | None of the above. |  |
| e. |  | All the above (excepting d.). | 2 |

| 1.50 | What are numbers that are less than zero called? |  | Mark Allocation |
| --- | --- | --- | --- |
| a. |  | Digits. |  |
| b. |  | Integers. |  |
| c. |  | Negative numbers. |  |
| d. |  | None of the above. |  |
| e. |  | All the above (excepting d.). | 2 |

| 1.51 | When subtracting numbers, some being positive and some being negative. e.g. (+4)+(+8)+(-5)+(-5): what happens to the negative sign? |  | Mark Allocation |
| --- | --- | --- | --- |
| a. |  | It will change to a positive sign. |  |
| b. |  | The sign will remain the same. |  |
| c. |  | The negative signs and positive signs will cancel each other. |  |
| d. |  | The answer will be +10 |  |
| e. |  | The answer will be -2 | 2 |

| 1.52 | In multiplication, e.g. 8 X 2 = 16 what are the numbers called? |  | Mark Allocation |
| --- | --- | --- | --- |
| a. |  | 8 is the product. |  |
| b. |  | 16 is the multiplicand. |  |
| c. |  | 2 is the multiplier. |  |
| d. |  | 16 is the product. |  |
| e. |  | 16 is the multiplier. | 2 |

| 1.53 | There are certain rules for multiplication, select the correct rule. |  | Mark Allocation |
| --- | --- | --- | --- |
| a. |  | A positive number times a negative number gives a positive answer. |  |
| b. |  | A negative number times a negative number gives a positive answer. |  |
| c. |  | A positive number times a positive number gives a negative answer. |  |
| d. |  | A negative number times a negative number gives a negative answer. |  |
| e. |  | A negative number times a positive number gives a positive answer. | 2 |

| 1.54 | What is the purpose of division? |  | Mark Allocation |
| --- | --- | --- | --- |
| a. |  | A process where a number of objects are split into equal parts. |  |
| b. |  | Used to find the common quotient in a number. |  |
| c. |  | To arrive at the divisor. |  |
| d. |  | To find out the dividend. |  |
| e. |  | All the above. | 2 |

| 1.55 | What is the correct definition of a factor? |  | Mark Allocation |
| --- | --- | --- | --- |
| a. |  | Where a number is divided by zero. |  |
| b. |  | If the dividend is not exactly divisible by the divisor, the divisor is a factor. |  |
| c. |  | Where the divisor is equal to the dividend, the quotient is a factor. |  |
| d. |  | The inverse of multiplication. |  |
| e. |  | Where the quotient is a whole number, the divisor is a factor of the dividend. | 2 |

| 1.56 | How is the quotient of a division operation checked? |  | Mark Allocation |
| --- | --- | --- | --- |
| a. |  | Multiply the divisor by the dividend. |  |
| b. |  | Multiply the product by the multiplicand. |  |
| c. |  | Multiply the quotient by the divisor. |  |
| d. |  | Multiply the quotient by the dividend. |  |
| e. |  | Multiply the dividend by the quotient. | 2 |

| 1.57 | Which situation will result in a remainder? |  | Mark Allocation |
| --- | --- | --- | --- |
| a. |  | When the dividend is not exactly divisible by the divisor. |  |
| b. |  | When the quotient is divisible by zero. |  |
| c. |  | When the divisor divides exactly. |  |
| d. |  | When a number is divided by zero. |  |
| e. |  | None of the above. | 2 |

| 1.58 | You eat one slice of a pizza that has been cut into 8 slices. What fraction of the pizza did you eat? |  | Mark Allocation |
| --- | --- | --- | --- |
| a. |  | 1/4. |  |
| b. |  | 1/3. |  |
| c. |  | 1/8. |  |
| d. |  | 1/16 |  |
| e. |  | 1/2. | 2 |

| 1.59 | You eat a second slice of the same pizza. What fraction have you now eaten? |  | Mark Allocation |
| --- | --- | --- | --- |
| a. |  | 1/4. |  |
| b. |  | 1/3. |  |
| c. |  | 1/8. |  |
| d. |  | 1/16 |  |
| e. |  | 1/2. | 2 |

| 1.60 | What is the correct definition of an improper fraction? |  | Mark Allocation |
| --- | --- | --- | --- |
| a. |  | The denominator is greater than the numerator |  |
| b. |  | The denominator is the same as the numerator. |  |
| c. |  | The numerator is smaller than the denominator. |  |
| d. |  | The numerator is greater than the denominator. |  |
| e. |  | The numerator is the same as the denominator. | 2 |

| 1.61 | In a decimal fraction, what is the value of the third digit from the decimal point? e.g. 0,002 |  | Mark Allocation |
| --- | --- | --- | --- |
| a. |  | 2/100 |  |
| b. |  | 2/10 |  |
| c. |  | 1/10000 |  |
| d. |  | 2/1000 |  |
| e. |  | 1/100 | 2 |

| 1.62 | What would 3/8 be expressed as when converted to a decimal fraction? |  | Mark Allocation |
| --- | --- | --- | --- |
| a. |  | 24,6. |  |
| b. |  | 0,375. |  |
| c. |  | 0,6. |  |
| d. |  | 0,0375. |  |
| e. |  | 3,75. | 2 |

| 1.63 | If a number is multiplied by itself and then by itself again, what is the product called? |  | Mark Allocation |
| --- | --- | --- | --- |
| a. |  | The square of that number. |  |
| b. |  | The square root of that number. |  |
| c. |  | The cube root of that number. |  |
| d. |  | The cube of that number. |  |
| e. |  | None of the above. | 2 |

| 1.64 | There are a number of mathematical signs that represent certain statements. Choose the statement that says that the first number is less than the second number. |  | Mark Allocation |
| --- | --- | --- | --- |
| a. |  | <> |  |
| b. |  | = |  |
| c. |  | > |  |
| d. |  | + |  |
| e. |  | < | 2 |

| 1.65 | Given the number 23,245156 choose which is the correct number, rounded to 3 decimal places. |  | Mark Allocation |
| --- | --- | --- | --- |
| a. |  | 23,245 |  |
| b. |  | 23,246 |  |
| c. |  | 23,244 |  |
| d. |  | 23,25 |  |
| e. |  | 23,24 | 2 |

| 1.66 | Given the number 23,245156 choose which is the correct number, rounded to 4 decimal places. |  | Mark Allocation |
| --- | --- | --- | --- |
| a. |  | 23,2451 |  |
| b. |  | 23,2461 |  |
| c. |  | 23,2452 |  |
| d. |  | 23,2542 |  |
| e. |  | 23,2442 | 2 |

| 1.67 | Choose the correct definition for a percentage. |  | Mark Allocation |
| --- | --- | --- | --- |
| a. |  | A percentage is a fraction with a denominator of 100. |  |
| b. |  | A percentage means a number expressed out of 100. |  |
| c. |  | A percentage means that 100 is the basis of comparison. |  |
| d. |  | None of the above. |  |
| e. |  | All the above (excluding d.). | 2 |

| 1.68 | A 36m long rope needs to be divided in the ratio of 3:4:5. Choose the correct lengths as per the ration given. |  | Mark Allocation |
| --- | --- | --- | --- |
| a. |  | 9m : 12m : 15m. |  |
| b. |  | 12m : 15m : 36m. |  |
| c. |  | 12m : 15m : 9m. |  |
| d. |  | 15m : 12m : 9m. |  |
| e. |  | 3m : 4m : 5m. | 2 |

| 1.69 | A pictorial representation of two or more sets of conditions is known as; |  | Mark Allocation |
| --- | --- | --- | --- |
| a. |  | Horizontal axis. |  |
| b. |  | Vertical Axis. |  |
| c. |  | Graph. |  |
| d. |  | None of the above. |  |
| e. |  | All the above (excluding d.). | 2 |

| 1.70 | S.I. stands for Systeme Internationale D’Unites and is an international standard. How many basic units are accepted internationally. |  | Mark Allocation |
| --- | --- | --- | --- |
| a. |  | 3. |  |
| b. |  | 4. |  |
| c. |  | 5. |  |
| d. |  | 6. |  |
| e. |  | 7. | 2 |

| 1.71 | If the basic unit is 1 meter what would the prefix be for 1000 meters. |  | Mark Allocation |
| --- | --- | --- | --- |
| a. |  | Milli. |  |
| b. |  | Centi. |  |
| c. |  | Deci. |  |
| d. |  | Kilo. |  |
| e. |  | Mega. | 2 |

| 1.72 | If the basic unit is 1 gram what would the prefix be for 0,001 grams. |  | Mark Allocation |
| --- | --- | --- | --- |
| a. |  | Milli. |  |
| b. |  | Centi. |  |
| c. |  | Deci. |  |
| d. |  | Kilo. |  |
| e. |  | Micro. | 2 |

TRUE OR FALSE QUESTIONS:

Award one mark for each selection of valid “T/F”.

| 1.73 | TRUE or FALSE: The total is 686 |  | Mark Allocation |
| --- | --- | --- | --- |
| a. | ⓣ | 349+224+113. |  |
| b. | ⓕ | 56+600+20. |  |
| c. | ⓣ | 222+246+218. |  |
| d. | ⓕ | 126+320+220. |  |
| e. | ⓕ | 192+205+279. | 5 |

| 1.74 | TRUE or FALSE: The total is 354. |  | Mark Allocation |
| --- | --- | --- | --- |
| a. | ⓕ | 212+340-82. |  |
| b. | ⓣ | 187+426-259. |  |
| c. | ⓕ | 318+329-283. |  |
| d. | ⓣ | 408+29-83. |  |
| e. | ⓕ | 102+254-12. | 5 |

| 1.75 | TRUE or FALSE: The product is 13888. |  | Mark Allocation |
| --- | --- | --- | --- |
| a. | ⓕ | 200X58. |  |
| b. | ⓕ | 218X50X2. |  |
| c. | ⓣ | 248X56. |  |
| d. | ⓣ | 124X56X2. |  |
| e. | ⓕ | 13888X0. | 5 |

| 1.76 | TRUE or FALSE: 6 of 12 – (10+2) = |  | Mark Allocation |
| --- | --- | --- | --- |
| a. | ⓕ | 6 |  |
| b. | ⓣ | 60 |  |
| c. | ⓕ | 12 |  |
| d. | ⓕ | 72 |  |
| e. | ⓕ | 62 | 5 |

| 1.77 | TRUE or FALSE: The percentage is 55%. |  | Mark Allocation |
| --- | --- | --- | --- |
| a. | ⓣ | 55 out of 100 |  |
| b. | ⓕ | 99 out of 190 |  |
| c. | ⓣ | 88 out of 160 |  |
| d. | ⓣ | 110 out of 200 |  |
| e. | ⓣ | 44 out of 80 | 5 |

| 1.78 | TRUE or FALSE: |  | Mark Allocation |
| --- | --- | --- | --- |
| a. | ⓣ | 24 > 12 |  |
| b. | ⓕ | 184 < 79 |  |
| c. | ⓕ | 287 > 288 |  |
| d. | ⓣ | 478 < 572 |  |
| e. | ⓣ | 12 < 24 | 5 |

| 1.79 | TRUE or FALSE: 112 tons of sugar is distributed to three shops. Shop A gets 32 tons, Shop B gets 64 tons and shop C gets the rest. What ratio was used to distribute the sugar? |  | Mark Allocation |
| --- | --- | --- | --- |
| a. | ⓣ | 2 : 4 : 1. |  |
| b. | ⓣ | 4 : 8 : 2. |  |
| c. | ⓕ | 16 : 20: 5. |  |
| d. | ⓕ | 2 : 8 : 3. |  |
| e. | ⓕ | 3 : 4 : 5. | 5 |

| 1.80 | TRUE or FALSE: |  | Mark Allocation |
| --- | --- | --- | --- |
| a. | ⓕ | A profit of 20% when product bought at R 200 and sold at R 220. |  |
| b. | ⓣ | A profit of 50% when a product bought at R 50 and sold at R 100. |  |
| c. | ⓣ | A profit of 22% when a product bought at R 100 and sold at R 122. |  |
| d. | ⓕ | A loss of 20% when a product bought at R 220 and sold at R 200. |  |
| e. | ⓣ | A loss of 10% when a product sold at R 90 and bought at R 100. | 5 |

| 1.81 | TRUE or FALSE: |  | Mark Allocation |
| --- | --- | --- | --- |
| a. | ⓣ | Hiring a car at R 260 per hour will cost R 520 for two hours. |  |
| b. | ⓕ | Hiring a car at R 260 per hour will cost R 660 for two and a half hours. |  |
| c. | ⓣ | Hiring a tractor at R 820 per hour will cost R 410 for half an hour. |  |
| d. | ⓣ | Hiring a bicycle at R 25.25 per hour will cost R 101 for 4 hours. |  |
| e. | ⓕ | Parking at Gateway costs R 36 for an hour. The rate per minute was 6c. | 5 |

| 1.82 | TRUE or FALSE: |  | Mark Allocation |
| --- | --- | --- | --- |
| a. | ⓣ | The square of 6 is 36. |  |
| b. | ⓕ | The cube of 6 is 214. |  |
| c. | ⓣ | The square root of 81 is 9. |  |
| d. | ⓕ | The cube root of 29 is 3 |  |
| e. | ⓣ | The square of 12 is 144 | 5 |

| 1.83 | TRUE or FALSE: |  | Mark Allocation |
| --- | --- | --- | --- |
| a. | ⓕ | The basic unit for length is a millimetre (m) |  |
| b. | ⓣ | The basic unit for mass is a kilogram (kg) |  |
| c. | ⓕ | The basic unit of time is 1 minute |  |
| d. | ⓣ | A derived unit is a unit of measure with a prefix. |  |
| e. | ⓕ | The prefix milli, denotes 1000 units, | 5 |

| 1.84 | TRUE or FALSE: |  | Mark Allocation |
| --- | --- | --- | --- |
| a. | ⓣ | There are 1000 m in a Km. |  |
| b. | ⓣ | There are 1000 mg in a gram. |  |
| c. | ⓕ | There are 1000 Km in a m. |  |
| d. | ⓣ | One cm has 10 mm. |  |
| e. | ⓕ | There are 3000 seconds in 3 hours. | 5 |

| Scope of Assessment | Exit Level Outcome/s | Module/s |
| --- | --- | --- |
|  | 6-12. Basic Lab Equipment Operation and Solutions | 1 |
| Alignment – Learning Outcome 6-12 : Basic Lab Equipment Operation and Solutions |  |  |
| Award one mark for selection of valid “x”. One mark = Competent |  |  |

| 1.85 | What is the standard unit of mass in a laboratory? |  | Mark Allocation |
| --- | --- | --- | --- |
| a. |  | 1000 grams. |  |
| b. |  | 1 kilogram. |  |
| c. |  | 1 gram. |  |
| d. |  | 1 milligram. |  |
| e. |  | 1000 kilograms | 2 |

| 1.86 | What is the force exerted on an object by the earth? |  | Mark Allocation |
| --- | --- | --- | --- |
| a. |  | Newton. |  |
| b. |  | Weight. |  |
| c. |  | Mass. |  |
| d. |  | 1 kilogram. |  |
| e. |  | 1 gram. | 2 |

| 1.87 | What is measured by comparison to known standards? |  | Mark Allocation |
| --- | --- | --- | --- |
| a. |  | Newton. |  |
| b. |  | Weight. |  |
| c. |  | Mass. |  |
| d. |  | 1 kilogram. |  |
| e. |  | 1 gram. | 2 |

| 1.88 | The principal of measuring the mass of an object is called: |  | Mark Allocation |
| --- | --- | --- | --- |
| a. |  | Balance of equilibrium. |  |
| b. |  | Mettler balance. |  |
| c. |  | Pan balance |  |
| d. |  | Load cell. |  |
| e. |  | Balance calibration. | 2 |

| 1.89 | Choose the correct mass, if you would be weighing 26 grams of sugar for moisture analysis, to the nearest 0,0002 grams. |  | Mark Allocation |
| --- | --- | --- | --- |
| a. |  | 26.0000. |  |
| b. |  | 25.9998. |  |
| c. |  | 26.0002. |  |
| d. |  | 26.0001. |  |
| e. |  | All the above. | 2 |

| 1.90 | A burette is specifically used for the following analysis. |  | Mark Allocation |
| --- | --- | --- | --- |
| a. |  | Sugar moisture. |  |
| b. |  | Sugar pol. |  |
| c. |  | Titrations. |  |
| d. |  | All Brix analysis. |  |
| e. |  | None of the above | 2 |

| 1.91 | The clear liquid that has passed through the filter paper is known as; |  | Mark Allocation |
| --- | --- | --- | --- |
| a. |  | Residue. |  |
| b. |  | Aliquot. |  |
| c. |  | Filtrate. |  |
| d. |  | Filter aid. |  |
| e. |  | Solids. | 2 |

| 1.92 | After a filtration, which component is used for a suspended solids analysis. |  | Mark Allocation |
| --- | --- | --- | --- |
| a. |  | Residue. |  |
| b. |  | Aliquot. |  |
| c. |  | Filtrate. |  |
| d. |  | Filter aid. |  |
| e. |  | Solids. | 2 |

| 1.93 | What determines the usage for different filter papers? |  | Mark Allocation |
| --- | --- | --- | --- |
| a. |  | The analytical procedure. |  |
| b. |  | The amount of sample required. |  |
| c. |  | Gravitational or vacuum filtration. |  |
| d. |  | None of the above. |  |
| e. |  | All the above (except d.). | 2 |

| 1.94 | Why do the first runnings of a gravity filtration need to be discarded? |  | Mark Allocation |
| --- | --- | --- | --- |
| a. |  | The filter paper absorbs water and will increase the reading of the sample, making it inaccurate. |  |
| b. |  | The filter paper traps some of the product in the initial stages, which will reduce the reading of the sample, making it inaccurate. |  |
| c. |  | There is a small amount of chemical within the filter paper and the first runnings rinse this out, making the reading of the sample accurate. |  |
| d. |  | The glassware and funnel need to be rinsed out in order to make the reading of the sample accurate. |  |
| e. |  | All the above. | 2 |

| 1.95 | The purpose of drying a sample is to determine the following. |  | Mark Allocation |
| --- | --- | --- | --- |
| a. |  | To arrive at the fibre content in cane. |  |
| b. |  | To arrive at the moisture content in products. |  |
| c. |  | To arrive at the dry solids content in a sample. |  |
| d. |  | The efficiency of the operation of the drying mills. |  |
| e. |  | All the above. | 2 |

| 1.96 | The moisture content of a factory product or sample is calculated by; |  | Mark Allocation |
| --- | --- | --- | --- |
| a. |  | A balance. |  |
| b. |  | Mass difference. |  |
| c. |  | The analyst. |  |
| d. |  | An oven. |  |
| e. |  | All the above. | 2 |

| 1.97 | What is the correct definition of a solution? |  | Mark Allocation |
| --- | --- | --- | --- |
| a. |  | A mixture of two components where you can see both components, like oil and water. |  |
| b. |  | A mixture of more than two components where you can see the components, like sand, water and milk. |  |
| c. |  | A mixture of two components where you can see both components, like sugar and water. |  |
| d. |  | A mixture of two components where you can’t see both components, like sugar and water. |  |
| e. |  | All the above. | 2 |

| 1.98 | A standard solution is defined as; |  | Mark Allocation |
| --- | --- | --- | --- |
| a. |  | A solution with a known concentration of chemicals. |  |
| b. |  | A solution with sugar and water that is completely dissolved. |  |
| c. |  | A reagent solution. |  |
| d. |  | An indicator solution. |  |
| e. |  | A solution with an unknown concentration of chemicals. | 2 |

The formula for % dissolved substances is: Mass of Dissolved Substance(s) X 100

Mass of Solution              1

| 1.99 | What is the % of dissolved sugar if 15g sugar is dissolved in 85g water? |  | Mark Allocation |
| --- | --- | --- | --- |
| a. |  | 85 % sugar. |  |
| b. |  | 70 % sugar. |  |
| c. |  | 15 % sugar. |  |
| d. |  | 100 % sugar. |  |
| e. |  | None of the above. | 2 |

| 1.100 | The formula for mass of dissolved substances is: Percentage of Dissolved Substance(s) X Mass of Solution 100 1 What is the mass of sugar in a 100g solution at 25% sucrose? |  | Mark Allocation |
| --- | --- | --- | --- |
| a. |  | 15g. |  |
| b. |  | 75g. |  |
| c. |  | 85g. |  |
| d. |  | 25g. |  |
| e. |  | 70g. | 2 |

| 1.101 | Concentration of a solution is expressed as grams per litre. What is the concentration of a solution that has a mass of 250 grams, containing 5 grams of sugar? |  | Mark Allocation |
| --- | --- | --- | --- |
| a. |  | 5 grams per litre. |  |
| b. |  | 2 grams per litre. |  |
| c. |  | 10 grams per litre. |  |
| d. |  | 25 grams per litre. |  |
| e. |  | 20 grams per litre. | 2 |

| 1.102 | To reduce the concentration of a solution the following formula is used; Aliquot = New Concentration X New Volume Old Concentration What aliquot is required to make a 200 cm3 solution with a concentration of 20 g/l. |  | Mark Allocation |
| --- | --- | --- | --- |
| a. |  | 4 cm3 |  |
| b. |  | 20 cm3 |  |
| c. |  | 8 cm3 |  |
| d. |  | 0.2 l |  |
| e. |  | 18 cm3 | 2 |

| 1.103 | What is the correct definition for the density of a solution? |  | Mark Allocation |
| --- | --- | --- | --- |
| a. |  | Mass of solution per unit volume of solution. |  |
| b. |  | Mass of solute per unit volume of solution. |  |
| c. |  | Density times volume. |  |
| d. |  | The ratio of density at 20 oC related to the density of water at 20 oC. |  |
| e. |  | Mass divided by mass of solute. | 2 |

| 1.104 | What is the correct definition for specific gravity? |  | Mark Allocation |
| --- | --- | --- | --- |
| a. |  | Mass of solute per unit volume of solution. |  |
| b. |  | Mass of solution per unit volume of solution. |  |
| c. |  | The ratio of density at 20 oC. related to the density of water at 20 oC. |  |
| d. |  | Density times volume. |  |
| e. |  | Density of water divided by density of solution. | 2 |

| 1.105 | TRUE or FALSE: The following is known as volumetric glassware: |  | Mark Allocation |
| --- | --- | --- | --- |
| a. | ⓣ | Erlenmeyer flasks. |  |
| b. | ⓣ | Pipette. |  |
| c. | ⓣ | Kohlrausch. |  |
| d. | ⓕ | Beaker. |  |
| e. | ⓣ | Measuring cylinder. | 5 |

| 1.106 | TRUE or FALSE: Precautions taken when using a balance: |  | Mark Allocation |
| --- | --- | --- | --- |
| a. | ⓕ | The balance can be placed near an open window. |  |
| b. | ⓣ | Before using the zero needs to be checked. |  |
| c. | ⓕ | A 2-decimal place balance can be used to weigh to 4 decimal places. |  |
| d. | ⓕ | The balance can be moved while massing a sample. |  |
| e. | ⓣ | The balance needs to be on a level, hard surface. | 5 |

| 1.107 | TRUE or FALSE: A titration is defined as follows: |  | Mark Allocation |
| --- | --- | --- | --- |
| a. | ⓣ | Adding one chemical to another in the presence of an indicator. |  |
| b. | ⓣ | Changing the colour of the indicator to show that a chemical reaction is complete. |  |
| c. | ⓣ | Precise measurement of a chemical required to complete a reaction. |  |
| d. | ⓣ | Determining the quantity of specific chemicals in a solution or sample. |  |
| e. | ⓣ | Part of an analytical operation to determine a result. | 5 |

| 1.108 | TRUE or FALSE: The function of a filter aid, used in filtration is to: |  | Mark Allocation |
| --- | --- | --- | --- |
| a. | ⓕ | Improve the clarity of the residue. |  |
| b. | ⓣ | Improve the filtering rate of the sample. |  |
| c. | ⓣ | Plays no part in the determination of the analytical result. |  |
| d. | ⓕ | Encourage floc formation. |  |
| e. | ⓕ | Reduce the first running’s. | 5 |

| 1.109 | TRUE or FALSE: In a solution of a solid and liquid, the components are known as: |  | Mark Allocation |
| --- | --- | --- | --- |
| a. | ⓕ | The solid is known as the solvent. |  |
| b. | ⓕ | The liquid is known as the solute. |  |
| c. | ⓣ | The solid is known as the solute. |  |
| d. | ⓣ | The liquid is known as the solvent. |  |
| e. | ⓕ | The solid is known as the solution. | 5 |

# FINAL MARKS

TOTAL MARKS: 240

PASS MARK: 192

| LEARNER MARKS |  |
| --- | --- |
| PERCENTAGE |  |
| ASSESSOR SIGNATURE: |  |